## Slide 1: EXPERT RECOMMENDATIONS ON THE ASSESSMENT OF WALL SHEAR STRESS IN HUMAN CORONARY ARTERIES: EXISTING METHODOLOGIES, TECHNICAL CONSIDERATIONS, AND CLINICAL APPLICATIONS
Frank Gijsen, Thorax center, Erasmus MC Rotterdam, The Netherlands

## Slide 2: shear stress in human coronaries
influences endothelial function
impacts atherosclerotic disease

## Slide 3: shear stress in human coronaries
65% of first authors clinical of biological background!

## Slide 4: shear stress in human coronaries

## Slide 5: shear stress in human coronaries
CFD: powerful, well-accepted but complex engineering tool
CFD: but in the hands of the novice, many
things can go wrong …
(you wouldn’t want an untrained engineer perform a PCI, right?)

## Slide 6: shear stress in human coronaries
CFD = Computational Fluid Dynamics
CFD ≠ Colors For Doctors

## Slide 7: shear stress in human coronaries
Introduction
The biological relevance of shear stress
Imaging coronary arteries: a brief review
Wall shear stress in native arteries
Wall shear stress in stents
Clinical application
Concluding remarks Appendices

## Slide 8: shear stress in human coronaries
Introduction
The biological relevance of shear stress
Imaging coronary arteries: a brief review
Wall shear stress in native arteries
Wall shear stress in stents
Clinical application
Concluding remarks Appendices

## Slide 9: shear stress in human coronaries
Introduction
The biological relevance of shear stress
Imaging coronary arteries: a brief review
Wall shear stress in native arteries
Wall shear stress in stents
Clinical application
Concluding remarks Appendices

## Slide 10: shear stress in human coronaries

## Slide 11: shear stress in human coronaries

## Slide 12: shear stress in human coronaries

## Slide 13: shear stress in human coronaries

## Slide 14: shear stress in human coronaries
Introduction
The biological relevance of shear stress
Imaging coronary arteries: a brief review
Wall shear stress in native arteries
Wall shear stress in stents
Clinical application
Concluding remarks Appendices

## Slide 15: shear stress in human coronaries
Introduction
The biological relevance of shear stress
Imaging coronary arteries: a brief review
Wall shear stress in native arteries
Wall shear stress in stents
Clinical application
Concluding remarks Appendices

## Slide 16: shear stress in human coronaries

## Slide 17: shear stress in human coronaries

## Slide 18
shear stress in human coronaries
CFD ≠ Colors For Doctors ≠ Certificate For Doctors!