## Slide 1
ABSORB II: Three-year Clinical Outcomes from a Prospective, Randomized Trial of an Everolimus-Eluting Bioresorbable Vascular Scaffold vs. an Everolimus-Eluting Metallic Stent in Patients with Coronary Artery Disease
Patrick W. Serruys MD. PhD.1
Bernard Chevalier MD.2
Yoshinobu Onuma MD. PhD.3
on behalf of ABSORB II investigators
1. NHLI, Imperial College London, London, United Kingdom,
2. Institut Jacques Cartier, Massy, France
3. Cardialysis, Rotterdam, the Netherlands / Erasmus university
TCT 2016, Washington convention center
October 30th 2016, 8:30 am-
Room 159 Level 1
Late breaking clinical trial and First report investigations Press Conf.1

## Slide 2: Disclosure Statement of Financial Interest
Grant/Research Support
Consulting Fees/Honoraria
Abbott
AstraZeneca
Biotronik
Boston scientific
Cardialysis
GLG Research
Medtronic
Sinomedical Sciences Technology
Société Europa Digital Publishing,
Stentys France
Svelte Medical Systems
Volcano
Qualimed
St. Jude Medical
Within the past 12 months, I or my spouse/partner have had a financial interest/arrangement or affiliation with the organization(s) listed below.
Affiliation/Financial Relationship
Company

## Slide 3: ABSORB II Study Design
Study Objective | Randomized against XIENCE control. First Patient In: 28-Nov-2011
Co-primary Endpoints 36 months | Vasomotion assessed by change in Mean Lumen Diameter between pre- and post-nitrate at 3 years (superiority) Minimum Lumen Diameter (MLD) at 3 years post nitrate minus MLD post procedure post nitrate (non-inferiority, reflex to superiority)
Treatment | Up to 2 de novo lesions in different epicardial vessels Planned overlapping allowed in lesions ≤ 48 mm
Device Sizes | Device diameters: 2.5, 3.0, 3.5 mm Device lengths: 12 (3.5 mm diameter only), 18, 28 mm
501 subjects
Randomized 2:1 Absorb BVS:XIENCE / 46 sites (Europe and New Zealand)
Clinical Follow-Up
24m
6m
12m
36m
30d
QoL follow-up
Angio, IVUS follow-up
MSCT follow-up (Absorb arm only)*
48m
60m
The ABSORB II study is sponsored by Abbott Vascular

## Slide 4
Chart: 
Cumulative frequency
Absorb | n=258 | 0.047±0.109 mm
XIENCE | n=130 | 0.056±0.117 mm
Psuperiority = 0.49
Vasomotion (mm)
Result will be discussed in details
in the following session:
Room 207, level 2 Monday Oct. 31, 2:45-2:53 pm
“BVS at the Cusp of Complete Bioresorption: MLD and Vasomotion at 3-years in Absorb and Xience from the ABSORB II”
Co-primary endpoint: in-device vasomotion in ABSORB II
Cumulative frequency distribution curves of vasomotion at 3 years
Change in mean lumen diameter

## Slide 5
Chart: 
Cumulative frequency
Late luminal loss (in-stent/scaffold) (mm)
XIENCE | n=151 | 0.250±0.250 mm
P non-inferiority = 0.78
P for difference = 0.0003
Absorb | n=298 | 0.371±0.449 mm
NI Margin
0.14
95%CI (0.06 – 0.19)
0
0.12
P non-inferiority = 0.78
Acute ScT (n=1)
Subacute ScT (n=1)
Late ScT (n=1)
Very Late ScT (n=6)
Co-primary endpoint: angiographic late luminal loss
Cumulative frequency distribution curves of late luminal loss at 3 years

## Slide 6
Kaplan Meier curves for Device- and Patient- oriented composite endpoints (DOCE and POCE)
Patient oriented clinical endpoint (%)
Time to event (days)
Absorb
Xience
25
20
15
10
5
0
HR [95% CI]
0.86 [0.58, 1.27]
p=0.44
20.8%
24.0%
Device oriented clinical endpoint (%)
Time to event (days)
Absorb
Xience
25
20
15
10
5
0
HR [95% CI]
2.17 [1.01, 4.69]
p=0.043
4.9%
10.4%
POCE
DOCE
Three-year protocol mandated imaging triggered subsequent revascularizations, clinically indicated or not.
Cardiac death
TV-MI
CI-TLR
All-cause death
Any-MI
Any revascularization

## Slide 7
 | Absorb 335 patients | Xience 166 patients | p value
Participated in exercise test | 71·3% | 72·3% | 0·83
Patient without prior repeat revascularization | 60·6% | 56·0% | 0·33
Maximum heart rate (bpm) | 131·0 | 136·2 | 0·054
Peak systolic blood pressure (mmHg) | 178·1 | 181·9 | 0·30
Exercise duration (min) | 8·57 | 9·23 | 0·11
≥ 0.1 mV ST depression or chest pain | 17·3% | 11·8% | 0·23
Exercise test
Antianginal medication |  |  | 
Beta blocker | 69·5% | 65·9% | 0·55
Calcium channel blocker | 23·6% | 24·2% | 0·92
Nitrate | 18·7% | 26·4% | 0·14

## Slide 8
Seattle Angina Questionnaire
angina stability, frequency, physical limitation, disease perception, and treatment satisfaction (Compliance in answering SAQ: 93% for both arms at 3 years)
Chart: SAQ Score
| BASELINE | MONTH 6 | YEAR 1 | YEAR 2 | YEAR 3 | BASELINE | MONTH 6 | YEAR 1 | YEAR 2 | YEAR 3 | BASELINE | MONTH 6 | YEAR 1 | YEAR 2 | YEAR 3 | % Angina Free | Physical Limitation | Treatment Satisfaction
BVS | 29.1022 | 72.5552 | 74.11 | 76.9517 | 73.955 | 74.8777 | 87.6198 | 86.9316 | 86.7844 | 87.0294 | 67.8524 | 84.9655 | 85.6487 | 93.3828 | 93.1222
XIENCE | 29.2683 | 72.7848 | 73.0769 | 78.1022 | 72.9032 | 72.4366 | 86.3095 | 85.8628 | 85.475 | 85.8611 | 65.2377 | 85.3616 | 84.9027 | 91.9599 | 91.7075
Absorb
Xience

## Slide 9: Conclusions 1/2
The data presented in our report are the first randomized data published after a period of observation of 3 years.
The trial did not meet its mechanistic co-primary endpoints of superior vasomotor reactivity because Xience showed unexpected vasomotion which had been hypothesised to be zero.
The trial did not meet its co-primary endpoints of non-inferior late luminal loss with respect to Xience that was found to have lower late luminal loss than Absorb.
Serial intravascular ultrasound follow-up showed a significant difference between the stable mean lumen area of Absorb as opposed to a significant loss in mean lumen area for Xience.

## Slide 10: Conclusions 2/2
A higher rate of device oriented composite endpoint due to target vessel myocardial infarction largely driven by peri-procedural myocardial infarction was observed in the Absorb arm.
The incidence of very late scaffold thrombosis is a signal that warrants further careful monitoring of the patient having a clinical follow-up of longer than 2 years.
The patient oriented composite endpoint, exercise testing and anginal status (compliance: 93%) were not statistically different between both devices at 3 years with treatment satisfaction of >90% in both arms.