## Slide 1: Real World Outcomes of TAVR with the SAPIEN-3 Valve in Intermediate Risk Patients: Comparison of Data from the TVT Registry with PARTNER S3 Studies
E. Murat Tuzcu MD, Samir R. Kapadia MD, Susheel Kodali MD, Lars G. Svensson MD, Vinod H. Thourani MD, Michael J. Mack MD, John G. Webb MD, D. Craig Miller MD, Jeffrey Moses MD, Craig R. Smith MD, Martin B. Leon, MD
From: Cleveland Clinic (EMT, SRK, LGS), Columbia University Medical Center (SK, JM, CRS, MBL), Medstar Washington Hospital Center (VHT), Baylor Scott & White Health (MJM), St. Paul’s Hospital (JGW), Stanford University (DCM)

## Slide 2: Speaker's name: E. Murat Tuzcu, MD
I have the following potential conflicts of interest to report:
  None
  Institutional educational grant: none to disclose
  Member, PARTNER trial executive committee
  Member, Founding TVT Registry steering committee

## Slide 3: Background and Objective
3
The PARTNER II S3 intermediate risk trial (S3i) demonstrated the safety and efficacy of TAVR using the SAPIEN 3 valve in intermediate risk (IR) patients
It remains unknown whether TAVR with the S3 valve can be performed with similar safety and efficacy in real-world practice
We sought to compare 30-day outcomes in IR patients from the ACC/STS Transcatheter Valve Therapeutics Registry (TVT-R) with outcomes of patients enrolled in the S3i and S3i continued access registry (S3iCAP) using propensity matching methodology.

## Slide 4: Overview of Clinical Studies
4
SAPIEN 3 THV
Intermediate Risk Population
 | S3i | S3iCAP | TVT-R (IR)
Study Design | Prospective Safety and effectiveness clinical study | Prospective Safety and effectiveness in expanded population using TVT-R | Retrospective Real world data using TVT-R
# Patients | 1077 | 1814 | 8781
Enrollment Period | Feb’14 – Sep’14 | Jan‘15 – Aug‘16 | Jun’15 – Jul’17
# Sites | 51 | 60 | 453
Study Conduct | CEC adjudication of all events DSMB monitoring of all events Echo and CT Core Labs | Independent medical reviewers adjudicated death, stroke, reintervention Monitored death, stroke, reintervention No Core Labs | DCRI cardiologists adjudicated death, stroke and reintervention Annual audits No Core Labs

## Slide 5: Baseline Characteristics AT Population
Transfemoral Access % 88.3 95.4 96.3 <0.001
 | S3i N = 1077 | S3iCAP N = 1814 | TVT-R (IR) N = 8781 | Overall P-value
Age years | 81.9 ± 6.60 | 80.7 ± 6.02 | 79.6 ± 7.66 | <0.001
Sex % female | 38.3 | 43.3 | 43.3 | 0.006
STS Score % ± std. dev. | 5.3 ± 1.29 | 4.4 ± 1.21 | 4.4 ± 1.49 | <0.001
NYHA III/IV % | 72.5 | 62.4 | 68.6 | <0.001
Prior MI % | 16.0 | 13.8 | 18.9 | <0.001
Prior Stroke % | 9.0 | 7.2 | 9.2 | 0.029
Chronic Lung Disease % | 30.0 | 31.9 | 33.4 | 0.050
LVEF % ± std. dev. | 58.6 ± 13.37 | 59.4 ± 10.73 | 57.6 ± 11.44 | <0.001
MR % Mod/Sev | 8.8 | 22.6 | 23.9 | <0.001
TR % Mod/Sev | 6.6 | 13.9 | 16.3 | <0.001
5

## Slide 6: Propensity Matching Methodology
To increase the robustness of the propensity matching, the analysis will include only the
transfemoral population
S3iCAP
(1730)
S3i
(951)
TVT-R (IR)
(8458)
S3i
(652)
TVT-R (IR)
(1956)
S3iCAP
(652)
Propensity Matched Analysis
1:1:3 subject selection
Transfemoral population
24 baseline covariates
  Missing values: imputed using Markov Chain Monte Carlo method
Logistic regression model
S3i used as control

## Slide 7: Baseline Characteristics Propensity Matched - TF Patients – AT (as-treated population)
7
 | S3i N = 652 | S3iCAP N = 652 | TVT-R (IR) N = 1956 | Overall P-value
Age years | 81.3 ± 6.91 | 81.4 ± 5.61 | 81.1 ± 6.72 | 0.480
Sex % female | 41.1 | 36.3 | 40.5 | 0.129
STS Score % ± std. dev. | 5.2 ± 1.30 | 4.5 ± 1.21 | 4.4 ± 1.46 | <0.001
NYHA III/IV % | 69.2 | 68.1 | 69.7 | 0.745
Prior MI % | 14.3 | 13.7 | 15.4 | 0.510
Prior Stroke % | 8.6 | 8.3 | 8.4 | 0.980
Chronic Lung Disease % | 31.1 | 29.0 | 30.2 | 0.696
LVEF % ± std. dev. | 58.9 ± 13.45 | 59.1 ± 10.63 | 58.5 ± 10.69 | 0.414
MR % Mod/Sev | 13.4 | 13.8 | 14.6 | 0.729
TR % Mod/Sev | 9.6 | 10.0 | 8.7 | 0.573

## Slide 8: 30-Day Clinical Outcomes Propensity Matched - TF Patients - AT
0.9
0.9
0.8
0
5
10
15
20
2.0
2.3
2.2
0
5
10
15
20
p-value = 0.927
p-value = 0.977
Patients (%)
All-cause Mortality
All Stroke
O:E = 0.17
O:E = 0.20
O:E = 0.18
 | S3i | S3iCAP | TVT-R (IR) | S3i | S3iCAP | TVT-R (IR) | 
STS | 5.19 | 4.47 | 4.44 |  |  |  | 
# Patients | 652 | 652 | 1956 | 652 | 652 | 1956 | 
# Sites | 51 | 60 | 453 | 51 | 60 | 453 | 8

## Slide 9: 30-Day Clinical Outcomes Propensity Matched - TF Patients - AT
 | S3i N = 652 | S3iCAP N = 652 | TVT-R (IR) N = 1956 | Overall P-value
All-Cause Mortality % | 0.9 | 0.9 | 0.8 | 0.977
All Stroke % | 2.0 | 2.3 | 2.2 | 0.927
New Pacemaker % | 11.1 | 12.0* | 10.2* | 0.356
Major Vasc Complications % | 6.9 | 5.8* | 4.0* | 0.007
Length of Stay Median [IQR] | 3.0 [2.0, 4.0] | 2.0* [2.0, 3.0] | 2.0* [2.0, 3.0] | <0.001
PVL (Mod/Sev) % | 4.6 | 4.3* | 1.3* | <0.001
*Site Reported and Unadjudicated

## Slide 10: Limitations
This analysis was retrospective, nonrandomized and limited to the SAPIEN 3 Valve; subject to unknown confounding factors due to variations in the study populations and the procedural techniques
Some outcomes from the S3iCAP and TVT-R registries were site- reported and non-adjudicated, including:
  Major vascular complications
  Moderate / severe PVL
Patients with bicuspid valves were not included in this comparison

## Slide 11: Conclusions
Comparing rigorously conducted FDA trials in fewer sites (S3i and S3iCAP) with an inclusive large national registry (TVT-R), there were no differences in all-cause mortality, all strokes and rates of new pacemakers.
Importantly, the low 30-day mortality (< 1%) and stroke (~2%) results in intermediate-risk patients treated with SAPIEN 3 TAVR were replicated in a real-world registry including 453 sites.
Length of stay was reduced in the TVT-R patients; major vascular complications and mod/severe PVL were also lower in the TVT-R, likely due in part to site-reported outcomes.

## Slide 12: Clinical Implications
In a real-world intermediate-risk U.S. population, transfemoral TAVR using SAPIEN 3 is being performed with extremely low 30- day mortality and strokes (O:E=0.18).
Considering the important clinical outcomes (e.g. death and strokes), data from a carefully conducted large national registry (TVT-R) can be a reliable source to validate or augment regulatory approval studies.

## Slide 13: euro
PCR

## Slide 14: Procedural Characteristics Propensity Matched - TF Patients - AT
 | S3i N = 652 | S3iCAP N = 652 | TVT-R (IR) N = 1956 | Overall P-value
General Anesthesia % | 73.3 | 74.5 | 74.9 | 0.716
Conversion to SAVR % | 0.5 | 0.2 | 0.6 | 0.411
Valve Sheath Method - Percutaneous % | 90.8 | 88.3 | 89.6 | 0.348
Contrast Volume mL | 124.0 ± 79.72 | 105.1 ± 65.86 | 104.1 ± 60.21 | <0.001
Fluoroscopy Time min | 20.3 ± 35.98 | 17.6 ± 8.81 | 17.2 ± 8.42 | <0.001
14