## Slide 1: Propensity-Score Matched Comparison of Evolut R Transcatheter Aortic Valve Replacement with Surgery in Intermediate-Risk Patients A Sub-Analysis from the SURTAVI Trial
Steven J. Yakubov, MD, Jeffrey J. Popma, MD, Nicolas M. Van Mieghem, MD, PhD, Patrick W. Serruys, MD, PhD, Arie-Pieter Kappetein, MD, PhD, Michael J. Reardon, MD
John H. McConnell Chair of Advanced Structural Heart Disease
System Chief, OhioHealth Structural Heart Disease
Medical Director, OhioHealth Research Institute
Riverside Methodist Hospital, Columbus, OH

## Slide 2: Disclosures
Medical Advisory Board: Medtronic
Medical Advisory Board: Abbott Vascular
Medical Advisory Board: Boston Scientific
Steering Committee Member/ Proctor: Medtronic
Advisory Board/ Equity Interest: BioStar Ventures
Consultant: SentreHeart
Consultant: Foldax

## Slide 3
SURTAVI Trial Propensity-Score Match Analysis
Background
The randomized SURTAVI trial demonstrated that transcatheter aortic valve replacement (TAVR) using a self-expanding valve is non-inferior to surgical aortic valve replacement (SAVR) for the primary endpoint of all-cause mortality or disabling stroke at 2 years in patients at intermediate risk.
The Evolut R device was FDA-approved as SURTAVI was enrolling.
  The CoreValve device was implanted in 84% of the TAVR patients, while the remaining 16% received an Evolut R device.
A continued access study (CAS) was initiated after SURTAVI was fully enrolled to allow study of TAVR using the Evolut R device in intermediate risk patients.

## Slide 4
Self-Expanding Valve Platform Design Evolution
Evolut R design goals
Self-Expanding Frame
Pericardial Skirt
Cell Size Enables Coronary Access
Supra-Annular Valve
Porcine Pericardial Tissue
Control During Deployment
  Recapturability
Lower Delivery Profile
Improved Hemodynamics
Enhanced Sealing with More Conformable Frame
  More Consistent Radial Force
  Optimized Oversizing
  Extended Skirt
Evolut R
CoreValve

## Slide 5
Randomized Controlled Trial (RCT)
1746 patients
SURTAVI Trial and Continued Access Study Patient Flow
*The modified intention-to-treat (mITT) population includes all subjects with an attempted procedure
Continued Access Study (CAS)
290 patients
15 not attempted:
- 2 died
- 2 withdrew consent
- 11 physician withdrew
TAVR attempted implant: N=275
TAVR implanted group: N=274
1 not implanted
TAVR ITT group: N=879
TAVR implanted group: N=863
SAVR implanted group: N=794
SAVR ITT group: N=867
2 not implanted
1 went to SAVR
2 surgical patients received TAVR
TAVR mITT* group:
N=864
SAVR mITT* group:
N=796
1 not implanted
2 went to TAVR
1 TAVR patient received SAVR
15 not attempted:
4 died
6 withdrew consent
5 physician withdrew
71 not attempted:
4 died
43 withdrew consent
23 physician withdrew
1 lost to follow-up

## Slide 6
SURTAVI Trial and Continued Access Study Timeline
2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Evolut R (US)
CoreValve: 31 mm (US, CAN, EU)
CoreValve: 23, 26, 29 mm (US)
CoreValve: 23, 26, 29 mm (CAN, EU)
April 2015
Inclusion Criteria:
STS 4 – 8%
May 2014
Inclusion Criteria:
Risk of 30-Day Mortality ≥3% and <15%
SURTAVI First Patient Enrolled
June
SURTAVI Enrollment Complete
June
CAS First Patient Enrolled
Evolut R: 23, 26, 29 mm
CoreValve: 31 mm
Sept
Complete CAS Enrollment
Complete SURTAVI
1-Year Follow-up
Jul
Aug
Complete CAS
1-Year Follow-up

## Slide 7
SURTAVI Trial and Continued Access Study Key Inclusion Criteria
Severe aortic valve stenosis: initial aortic valve area of ≤1.0 cm² or aortic valve area index <0.6 cm2/m2, AND a mean gradient >40 mmHg or Vmax >4 m/sec, at rest or with dobutamine provocation in patients with a LVEF <55%, or Doppler velocity index <0.25 by resting echocardiogram
NYHA functional class II or greater
SURTAVI Protocol Versions 1 - 7
(Patients enrolled June 2012 – May 2014)
Predicted 30-day surgical mortality risk is ≥4% and <10% based on STS PROM
SURTAVI Protocol Versions 8 - 12
(Patients enrolled May 2014 – June 2016)
Continued Access Study
Heart team agreement that predicted 30-day surgical mortality risk is ≥3% and <15% based on STS PROM and overall clinical status including frailty, disability and comorbidity factors
Criteria for “Intermediate Risk”

## Slide 8
SURTAVI Trial and Continued Access Study Stroke Assessment
  All the patients were seen by a trained neurologist or stroke specialist at baseline.
  Follow-up neurological assessments were done at discharge, 30 days, 6, 12, 18 and 24 months.
  Neurologic events were adjudicated by a neurologist on the CEC.
  Stroke was defined according to the VARC-2 criteria.
  Disabling stroke was defined as a modified Rankin score of ≥2 at 90 days and an increase in at least 1 mRS category.
Stroke assessment was consistent throughout SURTAVI and the Continued Access Study

## Slide 9
SURTAVI Trial Impact of Changing Inclusion Criteria
Chart: Patient Enrollment Number

## Slide 10
SURTAVI Trial Propensity-Score Match Analysis Objective
To compare 1-year outcomes with Evolut R in intermediate risk patients to those from a comparable SAVR cohort

## Slide 11
SURTAVI Trial Propensity-Score Match Analysis Methods
*To ensure consistent inclusion criteria
Evolut R Patients
N=197
Evolut R 34 mm
N=3
SURTAVI Continued Access Study
Evolut R mITT Population
N=255
Evolut R mITT Population
N=252
SAVR mITT Population
N=318
Randomized SURTAVI SAVR Arm
mITT Population
N=796
Patients treated prior to Protocol V.8*
N=322
Annular diameter >26 mm
N=156
SAVR Patients
N=197
Propensity Matching
(22 variables)
mITT = modified intention to treat

## Slide 12
SURTAVI Trial Propensity-Score Match Analysis Baseline Characteristics
 | Before Matching |  |  |  | After Matching |  | 
Characteristic % or mean ± SD | Evolut R N=252 | SAVR N=318 | Absolute Standardized Difference |  | Evolut R N=197 | SAVR N=197 | Absolute Standardized Difference
Age, years | 79.1 ± 6.2 | 78.8 ± 5.8 | 5.2% |  | 79.1 ± 6.1 | 79.1 ± 5.8 | 0.4%
STS PROM, % | 4.1 ± 1.5 | 3.8 ± 1.3 | 22.1% |  | 4.0 ± 1.5 | 3.9 ± 1.3 | 7.4%
Male | 42.1 | 40.9 | 2.4% |  | 40.6 | 41.1 | 1.0%
NYHA III/IV | 45.6 | 54.1 | 17.0% |  | 47.7 | 46.7 | 2.0%
Body Mass Index | 30.7 ± 7.1 | 29.3 ± 5.9 | 21.9% |  | 30.4 ± 7.0 | 29.9 ± 6.2 | 6.6%
Need for revascularization | 11.5 | 18.6 | 19.8% |  | 11.7 | 12.2 | 1.6%
5m gait speed >6 sec or wheelchair bound | 46.8 | 51.5 | 9.3% |  | 47.7 | 49.2 | 3.1%
Falls in the past 6 months | 8.3 | 10.7 | 8.1% |  | 8.6 | 7.6 | 3.7%
KATZ Score, ≥1 deficit | 9.5 | 6.6 | 10.7% |  | 9.1 | 7.6 | 5.5%
Diabetes controlled by insulin | 10.3 | 9.7 | 1.9% |  | 9.6 | 9.1 | 1.7%
Peripheral vascular disease | 26.2 | 20.4 | 13.6% |  | 26.4 | 23.9 | 5.9%

## Slide 13
SURTAVI Trial Propensity-Score Match Analysis Baseline Characteristics
 | Before Matching |  |  |  | After Matching |  | 
Characteristic % or mean ± SD | Evolut R N=252 | SAVR N=318 | Absolute Standardized Difference |  | Evolut R N=197 | SAVR N=197 | Absolute Standardized Difference
Prior Stroke | 5.2 | 6.3 | 4.9% |  | 5.1 | 3.6 | 7.5%
Coronary artery disease | 56.3 | 55.0 | 2.7% |  | 53.8 | 52.8 | 2.0%
Pre-existing IPG/ICD | 6.0 | 6.6 | 2.7% |  | 4.6 | 6.1 | 6.8%
Congestive heart failure | 82.9 | 94.0 | 35.3% |  | 92.4 | 90.9 | 5.5%
Atrial fibrillation / flutter | 22.6 | 18.9 | 9.3% |  | 20.3 | 23.4 | 7.4%
Moderate / severe chronic lung disease | 17.5 | 11.0 | 18.6% |  | 12.7 | 14.2 | 4.5%
Home oxygen | 0.8 | 2.5 | 13.6% |  | 1.0 | 1.0 | 0.0%
LVEF, % | 64.4 ± 8.4 | 62.8 ± 9.3 | 17.8% |  | 64.0 ± 8.6 | 64.4 ± 8.4 | 4.3%
Mean gradient, mmHg | 44.3 ± 12.1 | 48.7 ± 14.5 | 33.2% |  | 45.7 ± 11.9 | 45.5 ± 12.0 | 1.1%
Aortic regurgitation ≥mild | 40.1 | 44.6 | 9.2% |  | 38.1 | 38.6 | 1.0%
Mitral regurgitation, mod / severe | 4.8 | 2.2 | 13.9% |  | 4.1 | 3.6 | 2.7%

## Slide 14
SURTAVI Trial Propensity-Score Match Analysis All-Cause Mortality or Disabling Stroke
No. at risk
Evolut R |  | 197 |  | 193 | 189 | 125
SAVR |  | 197 |  | 182 | 177 | 175
1-year KM % | 95% CI
4.1% | 1.8, 9.3
8.2% | 5.1, 13.1
P-value (log-rank) =0.08
Chart: Months Post-Procedure

## Slide 15
Chart: Months Post-Procedure
SURTAVI Trial Propensity-Score Match Analysis All-Cause Mortality
No. at risk
30-day KM % | 95% CI |  | 1-year KM % | 95% CI
0.0% | -- |  | 3.6% | 1.4, 8.6
2.6% | 1.1, 6.0 |  | 5.7% | 3.2, 10.1
P-value (log-rank) =0.31
O:E Ratio Evolut R 0.0
SAVR 0.67
Evolut R |  | 197 |  | 194 | 190 | 125
SAVR |  | 197 |  | 187 | 182 | 180

## Slide 16
SURTAVI Trial Propensity-Score Match Analysis Disabling Stroke
No. at risk
1-year KM % | 95% CI
1.0% | 0.2, 5.6
3.1% | 1.3, 6.9
P-value (log-rank) =0.15
Chart: Months Post-Procedure
Evolut R |  | 197 |  | 193 | 189 | 125
SAVR |  | 197 |  | 182 | 177 | 175

## Slide 17
SURTAVI Trial Propensity-Score Match Analysis Clinical Outcomes
 | 30 Days |  |  |  | 1 Year |  | 
% (Kaplan-Meier Estimates) | Evolut R N=197 | SAVR N=197 | P-value |  | Evolut R N=197 | SAVR N=197 | P-value
All-cause mortality or disabling stroke | 0.5 | 5.1 | <0.01 |  | 4.1 | 8.2 | 0.08
All-cause mortality | 0.0 | 2.6 | 0.02 |  | 3.6 | 5.7 | 0.31
All stroke | 2.5 | 6.6 | 0.05 |  | 5.3 | 6.6 | 0.50
Disabling stroke | 0.5 | 3.1 | 0.06 |  | 1.0 | 3.1 | 0.15
Non-disabling stroke | 2.0 | 3.6 | 0.35 |  | 4.8 | 3.6 | 0.62
Transient ischemic attack | 0.0 | 1.5 | 0.08 |  | 2.0 | 1.5 | 0.73
Myocardial infarction | 0.5 | 0.5 | >0.99 |  | 1.5 | 0.5 | 0.33
Aortic valve reintervention | 0.0 | 0.0 | -- |  | 1.0 | 0.5 | 0.58
Aortic valve hospitalization | 1.5 | 3.6 | 0.19 |  | 4.6 | 6.8 | 0.33
Permanent pacemaker implantation | 13.2 | 6.2 | 0.01 |  | 15.3 | 7.8 | 0.02
Atrial fibrillation | 13.7 | 35.8 | <0.01 |  | 18.3 | 37.4 | <0.01

## Slide 18
SURTAVI Trial Propensity-Score Match Analysis Hemodynamics*
* Core lab adjudicated
Evolut R had significantly better valve performance over SAVR at all follow-up visits (P<0.01)
Aortic Valve Area, cm2
AV Mean Gradient, mm Hg
Chart: 
| Baseline | Discharge | 6 Months | 1 Year
Evolut R | 0.75 | 1.99 | 2.13 | 2.23
SAVR | 0.77 | 1.77 | 1.71 | 1.69
Transcatheter2 | 45.77 | 8.85 | 7.97 | 8.15
Surgical2 | 45.54 | 12.62 | 11.26 | 11.89

## Slide 19
SURTAVI Trial Propensity-Score Match Analysis Total Aortic Regurgitation*
* Core lab adjudicated
Chart: Percent of Evaluable Echos
| Discharge (N=195) | 1 Year (N=173) | Discharge (N=170) | 1 Year (N=151) | Evolut R | SAVR
None/Trace | 0.754 | 0.612 | 0.959 | 0.92
Mild | 0.236 | 0.329 | 0.041 | 0.079
Moderate | 0.01 | 0.058 | 0 | 0
Severe | 0 | 0 | 0 | 0

## Slide 20
Chart: Months Post-Procedure
Chart: 
Randomized SURTAVI Trial vs. Propensity-Score Match Analysis All-Cause Mortality or Disabling Stroke
No. at risk
Evolut R |  | 197 |  |  |  | 125
SAVR |  | 197 |  |  |  | 175
1-year KM % | 95% CI
4.1% | 1.8, 9.3
8.2% | 5.1, 13.1
7.8% | 6.2, 9.8
8.5% | 6.8, 10.8
RCT TAVR |  | 864 |  |  |  | 786
RCT SAVR |  | 796 |  |  |  | 698

## Slide 21
SURTAVI Trial Propensity-Score Match Analysis Conclusions
All-cause mortality or disabling stroke, at 1 year, were less with TAVR compared to SAVR
The TAVR group had less aortic valve or heart failure hospitalization and less atrial fibrillation than the SAVR group at 1 year
There was more need for permanent pacemaker implantation in the TAVR group
The Evolut R TAV demonstrated excellent hemodynamic performance
These results were achieved compared to a propensity-score matched SAVR group with low STS scores.
Advancements in catheter design technology may help drive greater success for intermediate-risk patients with severe, symptomatic aortic stenosis.

## Slide 22
Thank You