## Slide 1: Real World Validation of the non-hyperemic index of coronary artery stenosis severity - Resting Full-cycle Ratio (RFR) – RE-VALIDATE RFR
Gautam Kumar, Rupak Desai, Ankita Gore, Hussein Rahim, Akiko Maehara, Mitsuaki Matsumura, Ajay Kirtane, Allen Jeremias, Ziad Ali
March 4, 2019

## Slide 2
Gautam Kumar, MD
I have no relevant financial relationships
Study funded by Abbott Vascular

## Slide 3: Background
  Randomized controlled trials have reported iFR to be non-inferior to FFR for MACE at 2 year in intermediate lesions requiring physiological assessment
What is the evidence for non-hyperemic pressure ratios?
  Avoiding hyperemic agents can help reduce patient discomfort, reduce procedural time, and save cost
  May lead to a wider adoption of physiologic lesion assessment in routine clinical practice
What is the benefit of non-hyperemic pressure ratios?

## Slide 4
*A low-pass filter is used to calculate the Pd/Pa ratio to minimize the impact of noise and artifacts.
Svanerud et al. VALIDATE RFR. EuroIntervention 2018.
What is the Resting Full-Cycle Ratio?
Resting Full-cycle Ratio (RFR) is a novel resting index1 that scans the entire cardiac cycle to find the minimal Pd/Pa ratio*

## Slide 5: Study Design
Prospective analysis of retrospective all comer real-world hospital data from
  New York-Presbyterian Hospital/Columbia University Medical Center, New York
  Atlanta Veteran Affairs (VA) Medical Center, Atlanta, GA
Patients were treated from 2012 - 2018
No inclusion and exclusion criteria on medical history
An independent physiology core lab processed and analyzed all pressure tracing and calculated RFR and iFR*
* iFR calculated using the method described in by van ‘t Veer et al. 2017

## Slide 6: Study Objective
Compare diagnostic performance between RFR and iFR in a contemporary real-world patient population
Diagnostics performance assessed by:
  Diagnostic accuracy (DA)
  Sensitivity (Sn)
  Specificity (Sp)
  Positive predictive value (PPV)
  Negative predictive value (NPV)
  Area under the curve (AUC)
  Correlation of RFR-iFR

## Slide 7: Patients/Lesions Flow Chart
L = number of lesions; N = number of patients

## Slide 8
Patient-level Analysis (N = 431) | 
Age (years) | 66 ± 10
Gender | 
Male | 88%
Medical History | 
Hypertension | 90%
Hyperlipidemia | 90%
Diabetes mellitus | 50%
Previous PCI | 43%
Previous MI | 26%
Previous CABG | 10%
Current smoker (≤6 Months) | 20%
Renal dysfunction (Serum creatinine > 2.0) | 21%
Pre-procedure Indication | 
STEMI | 1.4%
NSTEMI | 8.1%
Stable angina | 34%
Unstable angina | 42%
Silent Ischemia | 15%
Baseline Demographic Characteristics

## Slide 9
Lesion-level Analysis (L = 501) | 
Single-vessel | 86%
Multi-vessel | 14%
Target vessel | 
LAD | 51%
LCX | 24%
RCA | 22%
LM | 3.0%
Diameter Stenosis (%) | 62 ± 15
Lesion Length (mm) | 18 ± 11
Reference vessel diameter (mm) | 3.1 ± 0.4
Lesion Baseline Characteristics

## Slide 10: Diagnostic Performance of RFR vs iFR Using a Single Cut-off of 0.89
Per-lesion analysis; L = 501
 | RFR ≤ 0.89 | RFR > 0.89
iFR ≤0.89 | 177 (35.3%) | 4 (0.8%)
iFR >0.89 | 7 (1.4%) | 313 (62.5%)
Statistical equivalence testing (1% error margin):
RFR = iFR (mean difference -0.003; 95% CI -0.004 to 0.002, p<0.0001)

## Slide 11
RFR achieved high diagnostic accuracy, sensitivity, specificity and AUC compared to iFR
RE-VALIDATE RFR demonstrated real-world evidence that RFR is diagnostically equivalent to iFR
RFR has recently received US FDA 510(k) clearance
Conclusions