## Slide 1
3-Year outcomes following TAVI with a self- expanding valve with pericardial wrap: Results from the FORWARD PRO Study
Nicolas M. Van Mieghem, MD, PhD; Stephan Windecker, MD; Ganesh Manoharan, MBBCh, MD; Patrizio Lancellotti, MD, PhD; Lars Søndergaard, MD, PhD; Corrado Tamburino, MD, PhD; Jae K. Oh, MD; Ruth E. Eisenberg, MS; Eberhard Grube, MD, PhD

## Slide 2: Potential conflicts of interest
Speaker's name : Nicolas Van Mieghem
☑ I have the following potential conflicts of interest to declare:
Receipt of grants / research support: Abbott, Abiomed, ACIST Medical Systems, Biotronik, Boston Scientific, Daiichi Sankyo, Inc., Edwards Lifesciences, Medtronic, Pie Medical Imaging, PulseCath BV
Medtronic sponsored the FORWARD PRO study and performed the statistical analysis and assisted in the development of the slides for this presentation

## Slide 3: Background
Transcatheter aortic valve implantation (TAVI) technologies have rapidly evolved in the now 20 years since the first implant.
Valve iterations to mitigate the presence of paravalvular leak have been developed such as the external porcine pericardial wrap on the Evolut PRO valve
Early outcomes to 1 year have been promising1,2, but longer-term data is needed.
Here we present the 3-year outcomes following TAVI with the Evolut PRO valve.
FORWARD PRO
1 Manoharan G, et al. EuroIntervention 2020;16:1-8. 2 Windecker S, et al. Presented at the Annual Meeting of the EuroPCR 2020.
Reproduced with permission of Medtronic, Inc.
Supra-annular porcine pericardial valve within a nitinol frame
Repositionable
External pericardial wrap

## Slide 4: Methods
FORWARD PRO
FORWARD PRO, a prospective, non-randomised, interventional, post- market study, enrolled patients undergoing TAVI in routine clinical practice from February 2018 to January 2019.
Patients with native AV stenosis or a failed surgical bioprosthetic AV who underwent TAVI with an Evolut PRO valve (23-26-, or 29 mm)
High or greater risk for surgery OR ≥75 years and at intermediate risk
(STS ≥ 4%) per Heart Team
Primary endpoint of all-cause mortality at 30 days
Protocol-specified echo acquisition at baseline, discharge and 1- and 3
years centrally assessed (Mayo Clinic Echo Core Laboratory)
100% monitoring of patient consent and all serious adverse events.
Independent CEC adjudication of death and safety events.

## Slide 5: Patient Flow FORWARD PRO
Enrolled
N=638
Attempted Implant N=629
30-Day Follow-up N=627/629* (99.7%)
1-Year Follow-up
N=581/629* (92.4%)
2-Year Follow-up
N=582/629* (92.5%)
3-Year Follow-up N=551/629* (87.6%)
*Patients who died were counted as known status for each time point. Missed visits are not a study exit.
DDeeaatthhss::2211 MMisisseeddvvisisitit::22
InIncclulussioionn//EExxcclulussioionn ccrrititeerriaiannoottmmeett::66 DDeeaatthh::11 WWitithhddrreeww::22
DDeeaatthh::4422 WWitithhddrreeww::1177 OOtthheerr::2200 LLoossttttoofofolloloww-u-upp::66 MMisisseeddvvisisitit::55
Death: 40
Withdrew: 1
Other: 1
Lost to follow-up: 2 Missed visits: 0
DDeeaatthh::4466 WWitithhddrreeww::55 OOtthheerr::11
LLoossttttoofofolloloww-u-upp::00 MMisisseeddvvisisitit:: 25

## Slide 6: Baseline characteristics FORWARD PRO
Mean ± standard deviation or %
N=629
*Slowness, weakness, exhaustion, wasting and malnutrition, poor endurance and inactivity loss of independence as assessed by the following criteria: 5-M walk time, grip strength, body mass index < 20 kg/m2 and or weight loss of 5 kg/y, serum albumin < 3.5 g/dL, and cognitive impairment or dementia.
Mean ± standard deviation or % | N=629
AAggee,, yyeeaarrss | 8811..77 ±± 66..11
Female sex | 61.8
STS score, % | 4.7 ± 3.3
NNeeww YYoorrkk HHeeaarrtt AAssssoocciiaattiioonn ccllaassss IIIIII//IIVV | 6644..33
SSeerruumm ccrreeaattiinniinnee >>22 mmgg//ddLL | 44..99
Chronic lung disease/chronic obstructive pulmonary disease | 26.2
Cerebrovascular disease | 18.9
PPrriioorr ccoorroonnaarryy aarrtteerryy bbyyppaassss ggrraaffttiinngg | 1100..55
PPrriioorr ppeerrccuuttaanneeoouuss ccoorroonnaarryy iinntteerrvveennttiioonn | 2288..22
Frailty* | 33.6
Assisted living | 14.8
PPaacceemmaakkeerr oorr iimmppllaanntteedd ccaarrddiioovveerrtteerr ddeeffiibbrriillllaattoorr | 1100..55
Left ventricular ejection fraction, % | 60.0 ± 11.0
Prior aortic valve | 4.0

## Slide 7: Clinical outcomes FORWARD PRO
9.7
22.7
0.7
16.6
4.6 5.4
1.3
25.0
24.024.7
6.5
0.2 0.2 0.2
1.4 2.2 2.4
1.3
15%
10%
5%
0%
20%
25%
40%
35%
30%
Death
PPI per VARC 3*
Disabling stroke
Thrombosis
Endocarditis
Reintervention
1 Year
2 Years
3 Years
Kaplan-Meier Estimates
*VARC-3 WRITING COMMITTEE, et al. J Am Coll Cardiol 2021; 77:2717-46.

## Slide 8: Death or disabling stroke
0%
20%
40%
100%
80%
60%
FORWARD PRO
Death or disabling stroke (KM %)
28.5 [25.0, 32.5]
No. at risk | 629 | 519 | 466 | 395
1 Year
2 Years
3 Years
0
12.0 [9.6, 14.9]
19.4 [16.4, 22.8]

## Slide 9: New permanent pacemaker implantation
20%
0%
40%
100%
80%
60%
FORWARD PRO
New permanent pacemaker (KM %)
24.7 20.7, 29.3]
No. at risk | 563 | 380 | 340 | 289
1 Year
2 Years
3 Years
0
22.7 [19.2, 26.6] 24.0[20.3, 28.2]

## Slide 10: Haemodynamic outcomes FORWARD PRO
Criss cross figure
0.8±0.3
2.1±0.6
43.0±16.0
7.9±4.7
8.5±4.4
8.8±4.7
0.0
10.0
20.0
30.0
40.0
50.0
Baseline
Discharge
1 Year
3 Years
0.0
0.5
1.0
1.5
2.0
2.5
3.0
2.0±0.5 2.0±0.5
Effective orifice area Mean gradient
Effective orifice area, cm2
Mean AV gradient, mm Hg
Gradient | 578 | 548 | 400 | 229
EOA | 473 | 392 | 314 | 178
Core laboratory assessed.

## Slide 11: Paravalvular Leak FORWARD PRO
59.5
67.9
80.3
38.9
31.6
19.7
0.0
1.6 0.5
0%
20%
40%
60%
80%
100%
Discharge N=565
1 Year N=389
3 Years N=229
None/Trace Mild Moderate/Severe
Percentage of Evaluable Echos
62.3
69.1
80.9
35.6
29.8
19.1
2.1 1.1
0.0
0%
20%
40%
60%
80%
100%
Discharge N=188
1 Year N=188
3 Years N=188
None/Trace Mild Moderate/Severe
Percentage of Evaluable Echos
All Patients with available echocardiograms
Patients with available echocardiograms at each follow-up
Core laboratory assessed.

## Slide 12: New York Heart Association Class FORWARD PRO
55.6
53.3
42.1
31.0
4.7
36.4
36.4
42.3
60.5
7.0
9.5
14.5
3.8
1.0 0.8 1.1
0%
20%
40%
60%
80%
100%
Baseline N=613
NYHA I
30 Days N=572
NYHA II
1 Year N=505
NYHA III
3 Years N=359
NYHA IV
Proportion of patients
68.2% of patients had improvement in at least 1 NYHA class from baseline to 3 years

## Slide 13: Summary of Reinterventions (site-reported)
Days post TAVI | Valve size | Type of reintervention | Reason for reintervention
0 | 29-mm | TAV in TAV | Valve embolization
0 | 29-mm | Snared Evolut and second valve implanted | Valve migration
44 | 29-mm | TAV in TAV | PVL, possibly due to too low implant
331 | 29-mm | Surgery – Explant | Endocarditis
453 | 29-mm | TAV in TAV | PVL (initial TAV too high)
460 | 29-mm | TAV in TAV | AI
461 | 29-mm | BAV (No TAV in TAV) | PVL

## Slide 14: Why is this important?
The Forward PRO Study shows consistent, favorable clinical and haemodynamic outcomes to 3 years.
Annual clinical event rates were very low, including low rates of reintervention, endocarditis, and no new incidences of thrombosis, attesting to the mid-term safety of the Evolut PRO platform.
Paravalvular leak improved over 3 years with the Evolut PRO platform; further research is required to understand this important finding.

## Slide 15: PCRonline.com