## Slide 1
Primary Outcomes of a Pivotal Multicenter Randomized Trial Comparing the AGENT Paclitaxel-Coated Balloon with Conventional Balloon Angioplasty for In-Stent Restenosis
Robert W. Yeh, MD
Beth Israel Deaconess Medical Center, Boston, MA
Richard Shlofmitz, Jeffrey Moses, William Bachinsky, Suhail Dohad, Steven Rudick, Robert Stoler, Brian K. Jefferson, William Nicholson, John Altman, Cinthia Bateman, Amar Krishnaswamy, J. Aaron Grantham, Francis J. Zidar, Jennifer A. Tremmel, Cindy Grines, Mustafa I. Ahmed, Azeem Latib, Behnam Tehrani, J. Dawn Abbott, Wayne Batchelor, Paul Underwood, Dominic J. Allocco, Ajay J. Kirtane

## Slide 2: Disclosure of Relevant Financial Relationships
Within the prior 24 months, I have had a relevant financial relationships with ineligible companies listed below.
Nature of Financial Relationship | Ineligible Company
Grant/Research Support | Abbott Vascular, BD Bard, Boston Scientific, Cook Medical, Philips Medical and Medtronic
Consulting | Abbott Vascular, Boston Scientific, CathWorks, Elixir Medical, Infraredx, Medtronic, Shockwave Medical and Zoll
All relevant financial relationships have been mitigated.
Faculty disclosure information can be found on the app

## Slide 3: Introduction
Treatment of in-stent restenosis (ISR) is commonly encountered and clinically challenging.
Drug coated balloons (DCBs) transfer a therapeutic dose of an anti-restenotic agent to the vessel wall without introducing another layer of metal
No coronary DCBs are currently approved in the United States
The AGENT DCB delivers a targeted low-dose formulation of paclitaxel (2 μg/mm2) to the treated vessel
AGENT IDE is a pivotal randomized trial comparing the safety and efficacy of the AGENT DCB to conventional balloon angioplasty in patients with ISR

## Slide 4: AGENT IDE Study Design
Prospective, randomized, multicenter, superiority trial across 40 US sites (N=480 patients*)
Key Inclusion Criteria: Patients with ISR of a lesion previously treated with BMS or DES; lesion length <26 mm, RVD >2.0 - ≤4.0 mm, and %DS >70 - <100% (asymptomatic) or %DS >50 - <100% (symptomatic)
Key Exclusion Criteria: Recent STEMI, bifurcation, LM, SVG or arterial graft, thrombus in target vessel
DAPT required for at least a month; Antiplatelet monotherapy through the duration of the study
*Based on an adaptive trial design (interim analysis with pre-specified sample size readjustment plan); Yeh et al. Am Heart J. 2021;241:101-107
Primary Endpoint: Target Lesion Failure at 1-year (composite of TLR, TV-MI, or cardiac death)
Clinical follow-up: In-hospital, 30 days, 6 months, 1-year and annually between 2 and 5 years
Balloon Angioplasty
AGENT DCB
2:1 randomization after successful
pre-dilation of target lesion

## Slide 5: AGENT IDE Study Leadership Team
Robert W. Yeh Beth Israel Deaconess Medical Center Boston, MA
Principal
Investigator
Study Chair
Steering Committee
Angiographic Core Laboratory
Ajay J. Kirtane Columbia University/NewYork-Presbyterian Hospital New York, NY
Dr. Charles Michael Gibson Baim Institute for Clinical Research, Inc Boston, MA
J. Dawn Abbott | Cinthia Bateman | Wayne Batchelor
Suhail Dohad | J Aaron Grantham | William Bachinsky
Robert Stoler | Jennifer Tremmel | 

## Slide 6: AGENT IDE Centers – Top Enrolling Sites
Richard Shlofmitz (79) St. Francis Hospital | Cinthia Tjan Bateman (15) South Denver Cardiology Associates, PC
Jeffrey Moses (49) Columbia University Medical Center | Amar Krishnaswamy (15) Cleveland Clinic Foundation
William Bachinsky (41) Pinnacle Health Cardiovascular Institute | J. Aaron Grantham (14) St. Luke's Hospital of Kansas City
Suhail Dohad (34) Cedars - Sinai Medical Center | Francis J. Zidar (13) Austin Heart
Steven Rudick (31) Lindner Center at Christ Hospital | Rajendran Sabapathy (13) Overland Park Regional Medical Center
Robert Stoler (30) Baylor Heart & Vascular Hospital | Jennifer Tremmel (12) Stanford University Medical Center
Brian Jefferson (30) Centennial Medical Center | Cindy Grines (12) Northside Hospital
William Nicholson (28) Emory University Hospital | Mustafa Ahmed (11) University of Alabama at Birmingham
John Altman (20) St. Anthony Hospital | Azeem Latib (11) Montefiore Medical Center
Robert Yeh (16) Beth Israel Deaconess Medical Center | Behnam Tehrani (10) Inova Fairfax Hospital

## Slide 7: Sample Size Calculation
Hypothesis: AGENT DCB superior to balloon angioplasty (BA) in ISR lesions for the primary endpoint of 1-year TLF
Expected rates*: AGENT DCB = 10.6%; BA = 21.2%
Randomization ratio = 2 DCB: 1 BA
Test significance level () = 0.025 (1-sided)
Power = 85%
Expected rate of attrition = 3%
Planned enrollment = 480 patients**
*Based on meta-analysis of historical trials and including an adjustment to account for the oculo-stenotic reflex; Yeh et al. Am Heart J. 2021;241:101-107; **Based on an adaptive trial design; final sample size increased to 600 patients; primary endpoint analysis conducted on the first 480 patients enrolled
The study primary endpoint will be considered met if the P-value from the z-test is <0.025 and the TLF rate in the DCB arm is less than the BA arm

## Slide 8: Patient Disposition
305 patients (95.0%) had 1-year clinical follow-up or death
0 Investigator discretion
5 Withdrew consent
11 Missed 1-year visit
321 randomized to DCB
159 randomized to BA
Allocation (2:1)
480 patients were eligible for randomization
148 patients (93.1%) had 1-year clinical follow-up or death
1 Investigator discretion
2 Withdrew consent
8 Missed 1-year visit

## Slide 9: Baseline Clinical Characteristics
 | AGENT DCB N=321 | Balloon Angioplasty N=159
Age (years) | 68.6±9.8 | 67.5±9.9
Female | 26.8% | 27.0%
Caucasian | 73.8% | 76.1%
Diabetes | 50.5% | 50.9%
Prior CABG | 32.1% | 27.8%
Prior Myocardial Infarction | 47.8% | 48.7%
Previous Congestive Heart Failure | 22.4% | 20.3%
History of Renal Disease | 18.2% | 16.4%
History of Multivessel Disease | 79.4% | 77.1%
History of Left Main Disease | 22.4% | 20.9%
Indication for Index Procedure |  | 
NSTE-ACS | 37.4% | 39.6%
Stable Angina | 54.2% | 52.8%
Silent Ischemia | 1.9% | 1.3%
Other Indication | 6.5% | 6.3%

## Slide 10: Baseline Restenosis Pattern
 | AGENT DCB N=321 | Balloon Angioplasty N=159
Single stent layer | 56.4% | 56.6%
Multiple stent layers | 43.6% | 43.4%
Mehran ISR pattern* |  | 
0 | 0.0% | 0.0%
1A (articulation) | 0.0% | 0.0%
1B (margin) | 1.3% | 1.3%
1C (focal) | 35.8% | 44.2%
1D (multifocal) | 0.3% | 0.6%
2 (intrastent) | 57.5% | 48.1%
3 (proliferative) | 4.4% | 5.2%
4 (total occlusion) | 0.6% | 0.6%
*Quantified by the angiographic core laboratory

## Slide 11: Angiographic Lesion Characteristics
 |  | AGENT DCB N=322 Lesions† | Balloon Angioplasty N=159 Lesions
Pre-Procedure |  |  | 
Target vessel treated | LAD | 34.9% | 35.2%
 | LCx | 24.6% | 26.4%
 | RCA | 37.7% | 33.3%
 | LMCA | 2.8% | 5.0%
Lesion Length, mm |  | 12.97±6.33 | 11.88±6.51
<10 mm |  | 37.0% | 46.5%
10 – 20 mm |  | 48.0% | 43.9%
>20 mm |  | 15.0% | 9.7%
MLD*, mm |  | 0.95±0.38 | 0.94±0.38
Diameter Stenosis*, % |  | 64.86±12.63 | 65.52±12.19
Post-Procedure |  |  | 
MLD*, mm |  | 2.13±0.45 | 2.15±0.51
Diameter Stenosis*, % |  | 22.09±10.66 | 21.90±10.56
Acute Gain*, mm |  | 1.17±0.47 | 1.21±0.52
*in-lesion values; †One patient in the AGENT arm had two target lesions treated with DCB that was counted as a protocol deviation

## Slide 12: Procedural Characteristics
 | AGENT DCB N=321 | Balloon Angioplasty N=159
Technical success (Post-procedure diameter stenosis of <30% in 2 near-orthogonal projections with TIMI 3 flow) | 92.9% | 89.3%
Clinical procedural success (Technical success with no in-hospital MI, TVR, or cardiac death) | 91.9% | 88.7%
Procedure time (min) | 56.9±31.0 | 52.7±27.3
Patients with only target lesion treated | 87.2% | 87.4%
Patients with both target & non-target lesion treated | 12.8% | 12.6%
Intravascular imaging use during procedure | 72.3% | 76.7%

## Slide 13: Antiplatelet Medication Usage
Chart: Patients
| Discharge | 30 days | 6 months | 12 months
Aspirin: AGENT | 0.956 | 0.915 | 0.884 | 0.859
Aspirin: BA | 0.943 | 0.911 | 0.878 | 0.845
DAPT: AGENT | 0.953 | 0.905 | 0.848 | 0.786
DAPT: BA | 0.943 | 0.904 | 0.827 | 0.754
DAPT required for at least a month; Antiplatelet monotherapy through the duration of the study

## Slide 14: Primary Endpoint: TLF at 1-Year
Chart: Target lesion failure
| DCB | Control
TLF | 0.179 | 0.287
AGENT DCB
(N = 301)
Balloon Angioplasty
(N = 150)
Difference [95% CI] = -10.7% [-19.2 to -2.3]
Psuperiority=0.0063
AGENT DCB demonstrated superior outcomes compared to BA for 1-year TLF
Binary event rates; A z-test with unpooled variance for the difference of two proportions was used

## Slide 15: TLR and Target Vessel Related MI at 1-Year
# at risk |  |  |  |  | 
AGENT | 321 |  | 306 |  | 219
BA | 159 |  | 142 |  | 98
Cumulative TLR Rate
20%
10%
0%
30%
Months Since Index Procedure
AGENT 12.4% vs. BA 24.0%
HR 0.49 (95% CI 0.31 to 0.78)
P=0.002
Log-rank P values; Periprocedural MI occurring within 48 hours of the index procedure adjudicated by the SCAI definition, and spontaneous MI occurring 48 hours after the index procedure was adjudicated according to the 4th Universal MI definition
Cumulative TV-MI Rate
20%
10%
0%
30%
Months Since Index Procedure
AGENT 6.4% vs. BA 12.3%
HR 0.51 (95% CI 0.27 to 0.95)
P=0.03
0
6
12
0
6
12
# at risk |  |  |  |  | 
AGENT | 321 |  | 306 |  | 233
BA | 159 |  | 148 |  | 108
Balloon Angioplasty
AGENT DCB
Balloon Angioplasty
AGENT DCB

## Slide 16: Definite/Probable ST at 1-Year
# at risk | 0 |  | 6 |  | 12
AGENT | 321 |  | 313 |  | 244
BA | 159 |  | 152 |  | 115
Cumulative Def/Prob ST Rate
8%
4%
0%
10%
Months Since Index Procedure
AGENT 0.0% vs. BA 3.9%
P=0.001
6%
2%
KM Event Rate; Log-rank P values; All definite ST in the BA arm (6 patients)
Balloon Angioplasty
AGENT DCB

## Slide 17: Additional Endpoints at 1-Year
Chart: Event Rate
| MI | Non-Q-wave MI | All Death | Cardiac Death | Non-Cardiac Death | TVR | TVF
AGENT DCB | 0.083 | 0.083 | 0.046 | 0.03 | 0.016 | 0.137 | 0.178
Balloon Angioplasty | 0.136 | 0.13 | 0.04 | 0.02 | 0.02 | 0.253 | 0.295
P=0.05
P=0.09
P=0.77
P=0.55
P=0.003
P=0.004
KM Event Rate; Log-rank P values
Cardiac death
MI
TVF
TVR
Non-Q-wave MI
All death
Non-cardiac death
P=0.79

## Slide 18: Subgroup Analyses of the Primary Outcome
Subgroup | Subgroup | AGENT DCB | BA | Hazard Ratio [95% CI] | P-Interaction
All Patients | All Patients | 17.4% | 28.2% |  | 
Sex | Female (N=129) | 10.6% | 24.1% |  | 0.26
 | Male (N=351) | 20.0% | 29.8% |  | 
Age | <75 years (N=349) | 19.2% | 26.4% |  | 0.10
 | ≥75 years (N=131) | 12.9% | 32.6% |  | 
Diabetes | Yes* (N=213) | 21.3% | 23.4% |  | 0.06
 | No† (N=265) | 14.7% | 32.3% |  | 
Vessel size‡ | Small (RVD< 2.75 mm) (N=259) | 16.8% | 25.5% |  | 0.83
 | Large (RVD≥2.75 mm) (N=218) | 18.4% | 31.5% |  | 
Stent Layer§ | Single (N=270) | 14.0% | 19.7% |  | 0.45
 | Multiple (N=209) | 21.9% | 39.3% |  | 
Chart: 
| 0.59 | 0.37 | 0.66 | 0.72 | 0.33 | 0.9 | 0.41 | 0.61 | 0.56000000000000005 | 0.7 | 0.51
Y-Values | 16.2 | 14.6 | 13.2 | 11.6 | 10.1 | 8.5 | 7 | 5.5 | 4 | 2.3 | 0.8
AGENT better
BA better
*Diabetic patients requiring medical treatment; †Diabetic patients treated with diet only or patients without diabetes; ‡RVD based on angiographic core lab data.

## Slide 19: Discussion Points - Sample Size
Sample Size
  Interim analysis was planned after 90% of patients enrolled, expecting 40% achieving 1-year endpoint at that time.
  Due to rapid enrollment, very limited 1-year follow-up available after 90% enrollment -> DMC recommended continuing enrollment to 600.
  FDA recommended performing interim analysis when 40% had achieved 1-year follow up. Analysis demonstrated 480 to be adequately powered.
  600 patient full sample will be included in the final manuscript.

## Slide 20: Discussion Points – Control Group
  Study designed for superiority over balloon angioplasty rather than non-inferiority vs. DES.
  Trial enrolled high number of patients with multiple-stent layers, for whom additional DES are often avoided.
  The design incorporated practical considerations necessary for conducting a successful trial to support regulatory approval.

## Slide 21: Conclusions
AGENT IDE is the first RCT conducted in the US examining the efficacy and safety of DCB in patients with coronary ISR
AGENT DCB was superior to conventional balloon angioplasty for the primary endpoint of TLF at 1-year (17.9% vs. 28.7%; P=0.006)
  These differences were driven by ~50% reductions in rates of TLR and TV-MI after treatment with AGENT DCB compared with BA
No thromboses occured in the AGENT arm (0.0% vs. 3.9%; P=0.001)
These data support the use of AGENT DCB for the treatment of coronary in-stent restenosis

## Slide 22
THANK YOU