## Slide 1
Paclitaxel-Coated Balloon versus Uncoated Balloon for Coronary In-Stent Restenosis – Two-year Outcomes of the AGENT IDE Trial
Jeffrey Moses, MD
Columbia University Irving Medical Center/NewYork-Presbyterian Hospital and the Cardiovascular Research Foundation, New York, NY St Francis Heart Center, Roslyn, NY
On behalf of the AGENT IDE investigators

## Slide 2: Jeffrey Moses, MD
I have financial relationships with companies listed below.
Nonfinancial Support: Orchestra BioMed

## Slide 3: Introduction
In-stent restenosis (ISR) occurs in ~10% patients undergoing PCI
The AGENT drug coated balloon (DCB) delivers a therapeutic dose of paclitaxel directly to the vessel wall, eliminating the need for a permanent metal implant
AGENT IDE is a pivotal randomized trial comparing the safety and efficacy of the AGENT DCB to conventional balloon angioplasty in patients with ISR
AGENT is the first DCB to receive FDA approval for use in patients with ISR based on the primary data from the AGENT IDE trial
Yeh RW et al. JAMA. 2024;331(12):1015–1024

## Slide 4: AGENT IDE Study Design
DAPT required for at least a month; Antiplatelet monotherapy through the duration of the study
Yeh RW et al. JAMA. 2024;331(12):1015–1024
Prospective, randomized, multicenter, superiority trial across 40 US sites
Device Group
AGENT DCB
Control Group
Balloon Angioplasty
N=600
Randomized 2:1
Clinical and Angiographic Eligibility Criteria | 
 ISR length <26 mm; RVD >2.0 - ≤4.0 mm | X Recent STEMI, bifurcation, LM
 %DS >70 - <100% (asymptomatic) | X SVG or arterial graft
 %DS >50 - <100% (symptomatic) | X Thrombus in target vessel
Primary Endpoint:
Superiority of AGENT DCB to Balloon Angioplasty with respect to 1-Year Target Lesion Failure

## Slide 5: Patient Disposition
382 patients (94.1%) had 2-year clinical follow-up or death
1 Investigator discretion
1 Lost to follow-up
9 Withdrew consent
13 Missed 2-year visit
406 randomized to AGENT DCB
194 randomized to BA
600 patients were eligible for randomization
182 patients (93.8%) had 2-year clinical follow-up or death
1 Investigator discretion
0 Lost to follow-up
4 Withdrew consent
7 Missed 2-year visit

## Slide 6: Baseline Clinical Characteristics
68±10 years
26%
74%
Sex
 | AGENT DCB (N=406) |  | Balloon Angioplasty (N=194)
Diabetes | 51% |  | 50%
Prior CABG | 31% |  | 29%
Hx of Multivessel Disease | 79% |  | 78%
Hx of Left Main Disease | 23% |  | 21%
Indication for Procedure |  |  | 
NSTE-ACS | 37% |  | 38%
Stable Angina | 55% |  | 52%
Other Indication | 8% |  | 11%
Yeh RW et al. JAMA. 2024;331(12):1015–1024
Non-White: 25%
BMI: 30

## Slide 7: Angiographic Lesion Characteristics
†One patient in the AGENT arm had two target lesions treated with DCB that was counted as a protocol deviation; Yeh RW et al. JAMA. 2024;331(12):1015–1024
 | AGENT DCB N=407 Lesions† |  | Balloon Angioplasty N=194 Lesions
Multiple stent layers | 43% |  | 42%
Target vessel treated |  |  | 
RCA | 38% |  | 36%
LAD | 35% |  | 36%
LCx | 24% |  | 24%
LMCA | 3% |  | 5%
Lesion Length, mm | 12.8 ± 6.3 |  | 11.8 ± 6.6
10 – 20 mm | 48% |  | 43%
>20 mm | 15% |  | 10%
Reference Vessel Diameter, mm | 2.7 ± 0.5 |  | 2.7 ± 0.5
In-Lesion Diameter Stenosis, % | 65 ± 12 |  | 66 ± 13

## Slide 8: Procedural Characteristics
*In-lesion values; †One patient in the AGENT arm had two target lesions treated with DCB that was counted as a protocol deviation; Yeh RW et al. JAMA. 2024;331(12):1015–1024
 | AGENT DCB N=406 |  | Balloon Angioplasty N=194
Procedure time (min) | 56.2 ± 29.8 |  | 53.2 ± 27.1
Hospital Length of Stay (days) | 0.6 ± 0.9 |  | 0.7 ± 1.8
Balloon Length (mm) | 22.9 ± 6.5 |  | 17.8 ± 7.3
Patients with only target lesion treated | 87% |  | 87%
Intravascular imaging use during procedure | 72% |  | 77%
Technical success (Post-procedure diameter stenosis of <30% in 2 near-orthogonal projections with TIMI 3 flow) | 93% |  | 90%
Clinical procedural success (Technical success with no in-hospital MI, TVR, or cardiac death) | 92% |  | 89%

## Slide 9: Antiplatelet Medication Usage
Chart: Patients
| Discharge | 6 months | 1-year | 2-year
Aspirin: AGENT | 0.954 | 0.884 | 0.869 | 0.858
Aspirin: BA | 0.973 | 0.89 | 0.863 | 0.835
DAPT: AGENT | 0.948 | 0.837 | 0.784 | 0.722
DAPT: BA | 0.97 | 0.854 | 0.786 | 0.676
DAPT required for at least a month; Antiplatelet monotherapy through the duration of the study

## Slide 10: TLF at 2 Years
# at risk | 0 |  |  |  | 12 |  | 24
AGENT | 406 |  |  |  | 333 |  | 276
BA | 194 |  |  |  | 147 |  | 118
TLF
Months Since Index Procedure
KM Event Rate; Log-rank P values
AGENT DCB
Balloon Angioplasty
0%
50%
40%
10%
30%
20%
2 years:
HR 0.73 (95% CI 0.53 to 0.99)
P=0.04
27%
34%
29%
18%
1 Endpoint:
Psuperiority=0.003

## Slide 11: TLR at 2 Years
# at risk | 0 |  |  |  | 12 |  | 24
AGENT | 406 |  |  |  | 340 |  | 278
BA | 194 |  |  |  | 149 |  | 118
Cumulative First TLR
Months Since Index Procedure
KM Event Rate Cox proportional hazard model; Log-rank P values
AGENT DCB
Balloon Angioplasty
0%
40%
10%
30%
20%
20%
29%
First TLR only
HR 0.63 (95% CI 0.45 to 0.89); P=0.009

## Slide 12: All TLR Through 2 Years
Months Since Index Procedure
0.0
0.4
0.1
0.3
0.2
Cumulative TLR
0.5
0
6
12
18
24
Lin Wei Yang Ying (LWYY) method for recurrent event analysis
AGENT DCB
Balloon Angioplasty
All TLR (LWYY Method)
HR 0.56 (95% CI 0.40 to 0.80); P=0.001

## Slide 13: All TLR Through 2 Years
First TLR only: HR 0.63 (95% CI 0.45 to 0.89); P=0.009
All TLR: HR 0.56 (95% CI 0.40 to 0.80); P=0.001
First TLR-DCB
First TLR-BA
All TLR-DCB
All TLR-BA
Months Since Index Procedure
0.0
0.4
0.1
0.3
0.2
Cumulative TLR
0.5
0
6
12
18
24
Cox proportional hazard model for time to first event;
Lin Wei Yang Ying (LWYY) method for recurrent event analysis

## Slide 14: Recurrent TLR Through 2 Years
Chart: Target lesion revascularization
| AGENT DCB | Balloon Angioplasty
First TLR | 0.192 | 0.284
Additional TLR | 0.049 | 0.16
2-Year TLR
RR, 0.54 (95% CI, 0.38-0.77)
P=0.001
First TLR
HR, 0.63 (95% CI, 0.45-0.89)
P=0.009
Difference between groups
-20.2
AGENT DCB
Balloon Angioplasty
Additional TLR
RR, 0.31 (95% CI, 0.15-0.64)
P=0.002
-11.1
-9.1
Cox proportional hazard model for time to first TLR; Negative binomial model for recurrent event analysis; RR=Risk Ratio

## Slide 15: TV-MI at 2 Years
# at risk | 0 |  |  |  | 12 |  | 24
AGENT | 406 |  |  |  | 366 |  | 302
BA | 194 |  |  |  | 168 |  | 139
Target Vessel-MI
Months Since Index Procedure
KM Event Rate; Log-rank P values
AGENT DCB
Balloon Angioplasty
0%
40%
10%
30%
20%
8%
12%
2 years:
HR 0.63 (95% CI 0.37 to 1.08)
P=0.09

## Slide 16: Definite/Probable ST at 2 Years
# at risk | 0 |  |  |  | 12 |  | 24
AGENT | 406 |  |  |  | 383 |  | 315
BA | 194 |  |  |  | 179 |  | 149
Definite/Probable ST
Months Since Index Procedure
KM Event Rate; Log-rank P values
AGENT DCB
Balloon Angioplasty
AGENT 0.0% vs. BA 3.1%
P=0.0004
0%
5%
10%
All STs occurred in patients with multilayer ISR

## Slide 17: Subgroup Analyses of 2-Year TLF
Subgroup | Subgroup | AGENT DCB | BA | Hazard Ratio [95% CI] | P-Interaction
All Patients | All Patients | 27.0% | 34.0% |  | 
Sex | Female (N=157) | 24.1% | 30.5% |  | 0.91
 | Male (N=443) | 28.0% | 35.3% |  | 
Age | <75 years (N=436) | 27.2% | 33.7% |  | 0.67
 | ≥75 years (N=164) | 26.4% | 34.6% |  | 
Diabetes | Yes* (N=269) | 28.6% | 34.2% |  | 0.54
 | No† (N=329) | 25.4% | 33.9% |  | 
Vessel size‡ | Small (RVD<2.75 mm) (N=332) | 27.5% | 34.4% |  | 0.93
 | Large (RVD≥2.75 mm) (N=265) | 26.6% | 34.4% |  | 
Stent Layer§ | Single (N=341) | 20.7% | 26.6% |  | 0.86
 | Multiple (N=258) | 35.4% | 44.0% |  | 
AGENT better
BA better
*Diabetic patients requiring medical treatment; †Diabetic patients treated with diet only or patients without diabetes; ‡RVD based on angiographic core lab data.
Chart: 
| 0.73 | 0.7 | 0.73 | 0.76 | 0.65 | 0.81 | 0.66 | 0.73 | 0.71 | 0.74 | 0.7
Y-Values | 25.4 | 23 | 20.6 | 18.2 | 15.6 | 13.2 | 10.8 | 8.4 | 6 | 3.6 | 1.2

## Slide 18: Additional Endpoints at 2 Years
Chart: Event Rate
| All Death | Cardiac Death | MI | Non-Q-wave MI | TVR | TVF
AGENT DCB | 0.081 | 0.05 | 0.101 | 0.098 | 0.225 | 0.286
Balloon Angioplasty | 0.069 | 0.032 | 0.137 | 0.132 | 0.314 | 0.361
KM Event Rate; Log-rank P values
Cardiac death
MI
TVF
TVR
Non-Q-wave MI
All death
P=0.67
P=0.36
P=0.15
P=0.18
P=0.009
P=0.03

## Slide 19: Conclusions
AGENT IDE is the first RCT conducted in the US examining the efficacy and safety of DCB in patients with coronary ISR
AGENT DCB was superior to conventional balloon angioplasty for the primary endpoint of TLF at 1-year
Consistent results were observed through 2 years of follow-up
  Significantly reduced incidence of TLF, driven by ~37% reduction in rate of first TLR after treatment with AGENT DCB compared with BA
  The recurrent TLR analysis showed significantly more repeat events per patient with BA
  No definite/probable thromboses occurred in the AGENT arm (0.0% vs. 3.1%; P=0.0004)
These data support the use of AGENT DCB for the treatment of coronary ISR

## Slide 20
THANK YOU