## Slide 1: Initial experience of a novel intra-annular self-expanding transcatheter aortic valve in Japan
Kentaro Hayashida, MD, PhD, FESC, FACC, FJCS Tokyo, Japan
on behalf of the OCEAN-TAVI investigators

## Slide 2: Potential conflicts of interest
Speaker's name : Kentaro Hayashida
☑ I have conflict of interest to declare
A clinical proctor of Edwards Lifesciences, Medtronic, and Abbott.

## Slide 3: OCEAN-SHD family
Japanese multicenter registry (29 centers, >300 members)
TAVI, MTEER, Tricuspid, LAAC etc…
>22K TAVIs in our OCEAN-TAVI registry (2013-2023)

## Slide 4: Navitor: Abbott
The latest generation of intra-annular self-expandable valve
NaviSeal: reduce PVL
FlexNav: a highly flexible delivery system to improve accessibility
Large cell: preserve better coronary access
Good hemodynamic performance
Launched in Japan from May 2022

## Slide 5: The study protocol
OCEAN-TAVI Registry database May 2022 to April 2024
862 who underwent TAVI with Navitor
857 included in this analysis
5 missing clinical data after TAVI

## Slide 6: Baseline characteristics
Age 85.7±5.2
BMI 22.1±3.6 kg/m²
STS score 5.8 [3.9-9.4] %
>> Older, more frail, and higher-risk patients were included than Western cohorts
Baseline characteristics | % | 
Male | 29.9 | 
Clinical Frailty Scale ≧4 | 51.7 | 
NYHA 3 or 4 | 28.4 | 
Smoking | 23.6 | 
Dyslipidemia | 54.7 | 
Diabetes mellitus | 29.4 | 
HTN | 81.2 | 
Atrial fibrillation | 18.9 | 
CAD | 32.4 | 
PAD | 14.2 | 
Carotid stenosis | 5.4 | 
COPD | 6.3 | 
CKD | 68.5 | 

## Slide 7: Preoperative data with TTE and MDCT
Echocardiography | 
index aortic valve area, cm²/m² | 0.46±0.13
peak flow velocity, m/s | 4.38±0.68
mean pressure gradient, mmHg | 45.7±15.8
LVEF, % | 63.0±11.3
AR ≧mild, % | 56.0
MR ≧mild, % | 55.9
MDCT | 
annulus area, mm² | 396±70
perimeter, mm | 71.5±6.4
right MLD, mm | 6.2±1.9
left MLD, mm | 5.9±1.7
Navitor was frequently used for patients with
Small annulus
Small vascular access
*MLD, minimal lumen diameter

## Slide 8: Procedure characteristics
Predilatation: 95.9%
Postdilatation: 7.3%
The smaller size accounted for two-third of the total
0.3%
3.7%

## Slide 9: Postprocedural clinical outcomes
Clinical outcomes | (%)
All cause death | 2.1
Coronary obstruction | 0.4
Disabling stroke | 1.2
Major bleeding | 3.9
New PMI | 11.7
Valve embolization | 0.4
Echocardiography | 
index EOA, cm²/m² | 1.29±0.35
THV Vmax, m/s | 1.92±0.43
mean pressure gradient, mmHg | 8.0±4.0
PVL ≧mild, % | 37.5
MR ≧mild, % | 49.1
VARC-3 defined technical success was achieved 98.2%
2 cases required surgical conversion, 3 cases were changed to another type of valve, 7 cases required repair of vascular access

## Slide 10: Postprocedural clinical outcomes
none
moderate
severe
91,6
6,5
1,8
none
trivial
mild
moderate
severe
22,7
39,8
34,3
3,1
0,1
Prosthesis-patient mismatch; PPM
Paravalvular leakage; PVL

## Slide 11: The essential results of this study
VARC-3 defined technical success: 98%
TF approach was used in 96% despite of narrow vascular access
Excellent hemodynamic performance (8.0±4.0mmHg) despite of
small annulus (396±70mm2)
Severe PPM: 1.8%
Moderate-severe PVL: 3.4%

## Slide 12: Heavily calcified vascular access: Navitor

## Slide 13: To achieve stable valve deployment
Avoiding non-uniform expansion (NUE) is important
“Distal opening technique”
Much stabler valve deployment
This technique is leading to lower pacemaker requirement
Kobari et al. EHJ Case Rep 2023

## Slide 14: Conclusion
Navitor demonstrated excellent short-term clinical outcomes as high technical success, low incidence of significant PVL and PPM, despite small annulus or narrow vascular access
Long-term follow-up in a larger cohort are awaited in the future

## Slide 15: The OCEAN-SHD family The 10-year anniversary: The 21st January 2024
Thank you!!
Slide preparation: Dr. Juri Iwata

## Slide 16: PCRonline.com