## Slide 1: Debris heterogeneity across different valve types captured by a cerebral protection system during TAVR
Tobias Schmidt, MD
Leon, M.,MD; Mehran, R., MD; Kuck, K.-H., MD; Fields, T.; Alu, M.; Molinari, L.; Kodali, S., MD; Kapadi, S., MD; Linke, A., MD; Naber, C., MD; Romero, M., MD; Virmani, R., MD; Frerker, C., MD

## Slide 2: Background
Cerebral injury after transcatheter aortic valve replacement (TAVR) has an impact on clinical outcome
Potential differences between transcatheter heart valve (THV) types and cerebral injury are not well understood
Notes: 2

## Slide 3: Aim
The aim of this study was to investigate differences between THV types and debris captured by a transcatheter cerebral embolic protection system (Claret Medical, Santa Rosa, CA).
Notes: 3

## Slide 4: Study flow chart
Patients receiving Sentinel and planned for histopathologic assessment, n=121
246 patients with 492 filters for
histopathologic and morphometric analysis
SENTINEL-H study n=163
Patient samples received by CVPath for analysis, n= 109
THV type commercially available
(at time of this study), n=100
SENTINEL IDE study n=363
Both filters deployed during TAVR, n=103
THV type commercially available
(at time of this study), n=146
Notes: Erklären die Zahlen

## Slide 5: Debris analyses
Analyses of debris were performed for:
Histopathology
Histomorphometry:
  Automated measured:
    Particle Size (≥150µm, ≥500µm, ≥1000µm)
    Particle Count
    Total Particle Area
  Manually measured:
    Maximum Dimension

## Slide 6: Baseline characteristics and THV type
Characteristic | n (%) or Median [Q1, Q3]
Age – years | 82 [78, 87]
Female | 133 (54.1)
History of Stroke | 22 (8.9)
History of AF | 89 (36.2)
History of PAD | 44 (17.9)
Pre-dilatation | 88 (35.8)
Post-dilatation | 28 (11.4)
Valve Type | n (%)
EvolutR | 40 (16.3)
Lotus | 36 (14.6)
SAPIEN XT | 25 (10.2)
SAPIEN 3 | 145 (59.3)

## Slide 7: Correlation
of THV type, patient demographics and captured debris
Valve type
Debris
Patient demographics

## Slide 8: Histopathology
Chart: 
| Acute Thrombus | Organizing Thrombus | Valve Tissue | Arterial Wall | Calcification | Foreign Material | Myocardium | Necrotic Core | Acute Thrombus associated with tissue/foreign material | Any Debris

EvR | 1 | 0.2 | 0.675 | 0.975 | 0.7 | 0.4 | 0.1 | 0 | 1 | 1
Lotus | 0.97222 | 0.083333 | 0.55556 | 0.86111 | 0.58333 | 0.61111 | 0.11111 | 0.027778 | 0.94444 | 1
S3 | 0.97241 | 0.1931 | 0.44138 | 0.83448 | 0.46207 | 0.36552 | 0.13103 | 0.027586 | 0.91724 | 0.98621
XT | 0.96 | 0.16 | 0.56 | 0.76 | 0.52 | 0.36 | 0.24 | 0 | 0.92 | 0.96

## Slide 9: Particle size (automated Histomorphometry)
Chart: 
| >=150um | >=500um | >=1000um
EvR | 1 | 1 | 0.75
Lotus | 1 | 0.97222 | 0.72222
S3 | 0.98621 | 0.86207 | 0.43448
XT | 0.96 | 0.84 | 0.48
All Patients | 0.98837 | 0.89147 | 0.52326
Percent of patients with particles by particle size
Notes: Number of patients with particles greater than 500 and 1000 microns are higher for EvR than S3 or XT

## Slide 10: Particle size (automated Histomorphometry)
Chart: 
| >=150um | >=500um | >=1000um
EvR | 1 | 1 | 0.75
Lotus | 1 | 0.97222 | 0.72222
S3 | 0.98621 | 0.86207 | 0.43448
XT | 0.96 | 0.84 | 0.48
All Patients | 0.98837 | 0.89147 | 0.52326
Percent of patients with particles by particle size
53%
Notes: Number of patients with particles greater than 500 and 1000 microns are higher for EvR than S3 or XT

## Slide 11: Median particle count (automated Histomorphometry)
Lotus > EvR p=0.004
Lotus > S3 p<0.001
Lotus > XT p=0.020
Lotus > S3 p=0.001
EvR > S3 p=0.001
Notes: Looking at particle count, the number of particles that were collected.
We have found a higher number of particles for Lotus compared to EvR, S3 and XT

## Slide 12: Median total particle area (automated Histomorphometry)
EvR > S3 p=0.0009
Lotus > S3 p=0.0007
EvR > S3 p=0.0003
EvR > XT p=0.0475
Lotus > S3 p<0.001
Lotus > XT p=0.0179
Notes: Look on the total particle area, which describes the amount of debris captured by the CPS
EvR and Lotus had a greater total area than S3 and XT

## Slide 13: Large particle outliers
Patients with large total particle area are found with all valve types.

## Slide 14: Maximum dimension (manual Histomorphometry)
the largest particle per patient
EvR > S3 p=0.003
EvR > XT p<0.0001
Lotus > S3 p<0.0001
Lotus > XT p<0.0001
Notes: Larger particles for EvR and Lotus than for S3 and XT

## Slide 15: Correlation
of THV type, patient demographics and captured debris
THV type
Debris
Patient demographic

## Slide 16: Patient demographics and valve type
Notes: Pre and post-dilation were more frequently performed in EvR patients than in Lotus or S3 patients

## Slide 17: Correlation
of THV type, patient demographics and captured debris
THV type
Debris
Patient demographic
Multivariate analysis

## Slide 18: Multivariate analysis
Since patient and procedural characteristics differed significantly between THV types, multivariate analysis was performed to test for interaction with the amount of debris captured.
This analysis showed that
THV type was the only significant predictor for the
morphometric findings (p<0.003)
Notes: Which morphometric result? Auf alle?

## Slide 19: Conclusion
Debris was captured in 99% of patients
Independent of the valve type, 53% of all patients had particles of debris larger than 1mm
Quantity of debris (measured by different methods and techniques) revealed more debris in patients receiving an EvR or Lotus THV, than in patients receiving a Sapien 3 or Sapien XT prosthesis
Capture of embolic debris is universal across different THV types and supports the benefit of using CEP in all TAVR procedures
Notes: 19

## Slide 20: Thank you!
Notes: 20