## Slide 1: Redefining small aortic annulus in patients undergoing TAVI with a self-expanding transcatheter heart valve with intra-annular leaflet position
Michael Reardon, MD Houston Methodist Hospital

## Slide 2: Potential conflicts of interest
Speaker's name : Michael Reardon
☑ I have the following potential conflicts of interest to declare:
Participation in a company sponsored speaker's bureau: Boston Scientific, Medtronic, Siemens Healthineers, WL Gore
Receipt of grants / research support: Abbott, Boston Scientific, Medtronic, WL Gore
Receipt of honoraria or consultation fees: Boston Scientific, Medtronic, Siemens Healthineers, WL Gore

## Slide 3: Abbott Transcatheter Heart Valves
Patient Annulus (mm) |  | 19 |  | 20 | 21 |  | 22 | 23 |  | 24 | 25 |  | 26 | 27 | 
 |  |  | 23 |  |  | 25 |  |  | 27 |  |  | 29 |  |  | 
Large cell design
Minimizes coronary obstruction and improves coronary
access and flow1,2
Early valve functionality
For hemodynamic stability throughout deployment3
Nitinol self-expanding stent
Re-capturable, repositionable, and retrievable until fully deployed
Valve Size (mm)
1. Abbott Data on File. 90664679; 2. Abbott Data on File. 90103707; 3. Möllmann et al. J Am Coll Cardiol Intv. 2017; 10:1538–47
4. Søndergaard, L. 30-day outcomes from a next generation TAVI device with an active sealing cuff. Presented at: EuroPCR conference; May 18-20, 2021.
Consistent radial force
Expands, anchors, stabilizes, and seals
Active sealing cuff
Synchronizes to cardiac cycle to seal and mitigate PVL4
First-Gen Abbott TAV Navitor™ Valve

## Slide 4: Study Design and Subject Population
Objective: Evaluate annular threshold for PPM risk when adjusting for body size
Population: subjects with symptomatic severe AS at high or extreme risk for SAVR
PORTICO IDE
52 sites (AUS, US)
PORTICO I
61 sites (AUS, CAN, EUR)
Navitor IDE
26 sites (AUS, EUR, US)
Prospective, multi-center, pre-approval study
N = 260
Prospective, multi-center, post-market study
N = 941
Prospective, multi-center,
randomized clinical trial
N = 375
N = 1576
(subjects with implant attempt)
Follow-Up Visit
30d
1yr
2yr
3yr
4yr
5yr

## Slide 5: Background
Patients with small aortic annulus (SAA) are at higher risk for prosthesis-patient mismatch (PPM) after TAVI
PPM increases risk of poor clinical outcomes and impaired valve durability

## Slide 6: What did we study and why?
We studied body size-adjusted aortic annulus measurement
How did we do it?
Comparison of:
  Perimeter-derived aortic annulus diameter
  Indexed perimeter-derived aortic annulus diameter
as predictors of PPM, clinical outcomes, and valve durability.
Why did we do it?
Perimeter-derived annular diameter does not account directly for risk of PPM, whereas indexed annular diameter may predict PPM

## Slide 7: Baseline Characteristics
Characteristics | PORTICO I* N=941 | PORTICO IDE N=375 | NAVITOR IDE N=260 | Pooled Analysis N=1576
Age (years) | 82.4 | 83.0 | 83.4 | 82.7
Gender (female) | 65.7% | 51.5% | 57.3% | 60.9%
STS score (mortality) | 5.68% | 6.34% | 3.90% | 5.53%
NYHA class III/IV | 63.9% | 71.2% | 55.0% | 64.2%
Frailty (>1 criteria) | 81.9% | 93.3% | 87.7% | 85.6%
Body surface area (m2) | 1.78 | 1.86 | 1.83 | 1.80
Chronic kidney disease (creatinine >2.0 mg/dL) | 4.6% | 2.7% | 0.0% | 3.4%
Atrial fibrillation | 17.6% | 32.5% | 24.6% | 26.6%
Diabetes | 29.8% | 37.3% | 28.8% | 31.4%
Prior PCI | 22.8% | 29.3% | 30.4% | 25.6%
Prior stroke | 6.3% | 7.5% | 5.4% | 6.4%
Pre-existing pacemaker | 8.6% | 14.7% | 10.8% | 10.4%
*27 and 29 mm valve were not commercially available for first half of enrollment |  |  |  | 

## Slide 8: Aortic Annulus Diameter
Number of Subjects
21
22
23
(mm)
24
25
26
27
300
200
100
0
70
92
206
245
274
226
182
92
Number of Subjects
11
12
13
(mm/m2)
14
15
0
100
200
300
400
43
129
307
332
292
156
82
Indexed annular diameter: perimeter-derived diameter divided by patient body surface area
Perimeter-Derived Diameter Indexed Perimeter-Derived Diameter
_<20
_<10
_>16

## Slide 9: Prediction of Prosthesis-Patient Mismatch
Subjects (%)
21
22
23
26
27
12
13
14
15
0%
20%
40%
100%
80%
60%
24 25
Insignificant PPM
Moderate PPM
Indexed Perimeter-Derived Diameter (mm/m2)
Perimeter-Derived Diameter (mm)
_<20
_>16
_<10 11
Severe PPM
Percent of subjects with PPM changes with indexed diameter, but not perimeter-derived diameter
Increased Risk
Decreased Risk

## Slide 10: Prediction of Composite Clinical Events
KM Rate (%)
30 Days
1 Year
60%
50%
40%
30%
20%
10%
0%
48,4%
50,5%
Perimeter-Derived Diameter
2 Years 3 Years 4 Years 5 Years
>23 mm
N at 5 Years
<23 mm = 119
>23 mm = 150
KM Rate (%)
5 Years
60%
50%
40%
30%
20%
10%
0%
44,7%
52,1%
Indexed Perimeter-Derived Diameter
N at 5 Years
<13 mm/m2 = 92
>13 mm/m2 = 161
Composite event rate: cardiovascular mortality, disabling stroke, or heart failure hospitalization
_<23 mm
30 Days 1 Year
<13 mm/m2
2 Years 3 Years 4 Years
>_13 mm/m2

## Slide 11: Valve Durability by Annular Measurement
KM Rate (%)
30 Days
1 Year
4%
3%
2%
1%
0%
3,3%
2,0%
Perimeter-Derived Diameter
2 Years 3 Years 4 Years 5 Years
>23 mm
KM Rate (%)
5 Years
0%
1%
2%
3%
4%
2,8%
2,0%
Indexed Perimeter-Derived Diameter
<_23 mm
30 Days 1 Year
<13 mm/m2
2 Years 3 Years 4 Years
>_13 mm/m2
Bioprosthetic Valve Failure1
1. Adapted from: Capodanno D, et al. Eur Heart J. 2017;38:3382-90; VARC-3 Writing Committee. J Am Coll Cardiol. 2021;77:2717-46

## Slide 12: Conclusions
Perimeter-derived annulus diameter adjusted for BSA better- identifies patients at risk for prosthesis-patient mismatch in Abbott THVs compared to unadjusted perimeter-derived diameter
Results did not demonstrate a negative impact of small indexed diameter on clinical outcomes or valve performance
Indexed perimeter-derived diameter <13 mm/m2 is a risk factor for prosthesis-patient mismatch

## Slide 13: PCRonline.com