## Slide 1: TRILUMINATE Pivotal A Randomized Trial for Tricuspid Regurgitation
Paul Sorajja, MD
On behalf of the TRILUMINATE Pivotal investigators
TRILUMINATE Pivotal is sponsored by Abbott

## Slide 2: Potential Conflicts of Interest
Consultant to 4C Medical, Abbott Structural, Anteris, Boston Scientific, Edwards LifeSciences, Foldax, HighLife, Medtronic, Shifamed, Shockwave, vDyne, WL Gore
National Co-P.I. for TRILUMINATE Pivotal

## Slide 3: Study Design for TRILUMINATE Pivotal RCT
To evaluate the safety and effectiveness of the TriClip System in symptomatic patients with severe TR.
PRIMARY ENDPOINT
SCIENTIFIC OBJECTIVE
SECONDARY ENDPOINTS
A composite of mortality or tricuspid valve surgery, heart failure hospitalizations, and qualityrofrlife improvement ≥15 points assessed using the Kansas City Cardiomyopathy Questionnaire (KCCQ), evaluated at 12 months in a hierarchical fashion using the Finkelstein-Schoenfeld methodology.
TRILUMINATE Pivotal RCT is the first randomized, controlled study for the treatment of tricuspid regurgitation (TR).
BACKGROUND
30 days: TR reduction to moderate or less; freedom from major adverse events
12 months: Change in KCCQ and 6MWD
24 months: Recurrent HF hospitalizations; freedom from all-cause mortality, tricuspid valve surgery, and tricuspid valve intervention
Inclusion Criteria:
Symptomatic with severe TR despite medical therapy
≥ Intermediate risk of mortality/morbidity with tricuspid valve surgery
Exclusion Criteria:
Indication for other valve disease intervention
Anatomy not suitable for TriClip therapy
KEY INCLUSION/ EXCLUSION CRITERIA

## Slide 4: Study Design for TRILUMINATE Pivotal RCT
Subject Selection
Subject has symptomatic, severe TR and is at intermediate or greater risk for mortality or morbidity with TV surgery
TriClip Device (N=175)
Medical Therapy (N=175)
TriClip Device
Randomize 1:1
Single-Arm
Yes
Screen Failure
Subject meets inclusion/exclusion criteria?
Ability to reduce TR to Moderate or less?
No
Yes
No
Echo Core Lab TR Severity Confirmed? |  | No
 | Yes | 
Baseline Visit
Eligibility Committee Confirm optimized medical therapy and valve anatomy clippable |  | No
 | Yes | 
Yes

## Slide 5: Efficacy and Safety
Device (n=136)
Control (n=125)
Device (n=136)
Control (n=125)
0%
20%
40%
60%
80%
100%
50.7
2.9
1.6
38.2
2.4
3.2
97.1
98.4
11.1
94.4
Severe/Massive/Torrential Moderate
Trace/Mild
TR Severity
Baseline 1-year
Adverse Events† (30 Days)
Major Adverse Events (n=172) 3 (1.7%)
1 (0.6%)
0 (0%)
2 (1.2%)
0 (0%)
Cardiovascular mortality Endocarditis requiring surgery New-onset renal failure
Non-elective CV Surgery, TVRS for device-related AE
Any-cause mortality Major bleeding#
Single leaflet device attachment (SLDA)*
Stroke
Myocardial infarction Device embolization*
Device thrombosis
New CRT/CRT-D/ICD/perm. pacemaker^
1 (0.6%)
8 (4.7%)
12 (7.0%)
1 (0.6%)
0 (0%)
0 (0%)
0 (0%)
1 (0.6%)
89%
moderate or less
†Attempted procedure population (3 subjects randomized to Device withdrew consent prior to
index procedure)
#Defined as bleeding ≥ Type 3 based on a modified Bleeding Academic Research Consortium
(BARC) definition
*SLDA and embolization evaluated through 30-day follow-up
^Assessed through adverse event reporting

## Slide 6: Primary Endpoint Results
Total
Death or TV Surgery
HF hospitalization
KCCQ change ≥15 pts
2000
0
4000
6000
8000
10000
12000
2884
1948
6516
7643
2128
Device Wins
Control Wins
Win ratio, 1.48
(1.06, 2.13), p=0.02
11348
TriClip™ therapy demonstrated superiority to medical therapy, driven by improvement in KCCQ
p=0.75
2644
p=0.41
2871
p<0.0001

## Slide 7: A Deeper Dive into the Baseline Characteristics of Patients Enrolled in TRILUMINATE Pivotal RCT

## Slide 8: Baseline Characteristics for RCT Cohort
Variable N=350
Age, mean (years) 78 ± 7
Female 55%
Hypertension 81%
Atrial fibrillation 90%
Diabetes 16%
Renal disease 35%
TR Severity Severe Massive Torrential
28%
20%
51%
Etiology
Primary/mixed Secondary
6%
94%
Variable, continued N=350
Prior Aortic or Mitral Intervention 37%
Prior Aortic Intervention Surgical replacement Percutaneous replacement Surgical repair Percutaneous repair
15%
11%
3%
1%
0%
Prior Mitral Intervention Surgical replacement Percutaneous replacement Surgical repair Percutaneous repair
25%
5%
0%
7%
11%
Prior CABG
19%
Prior PCI
14%
Prior CRT/CRT-D/ICD/Pacemaker
15%
HFH within previous 1 year
25%

## Slide 9: Baseline Symptoms and Quality of Life
Subjects (%)
0%
5%
10%
15%
20%
25%
30%
35%
11%
33%
30%
25%
Mean KCCQ:
55.1 ± 23.8
Subjects
(%)
0%
20%
40%
60%
80%
100%
43%
55%
Baseline (N=350)
NYHA I NYHA II NYHA III NYHA IV
NYHA
KCCQ
0-24
Very poor to poor
25-49
Poor to fair
50-74
Fair to good
75-100
Good to very good
2%

## Slide 10: Baseline Cardiac Chambers
LV and RV Function
4
LV normal |  |  | 9 | LV dilated RV dilated 28%
RV dilated |  |  |  | 
61% |  |  | 8 | 
 |  |  | 7 | 
 |  |  | 6 | 
LVEDVi |  |  | 5 | 
0 | 20 | 40 | 4 | 60 80 100 LV dilated RV normal 1%
 |  |  | 3 | 
 |  |  | 2 | 
LV normal RV normal |  |  | 1 | 
10% |  |  | 0 | 
LV and RV Size
RVEDD (base)
Mean TAPSE: 1.6 ± 0.4 cm
Mean LVEF: 59 ± 10 %
Mean RVEDD (base): 5.1 ± 0.8 cm Mean LVEDVi: 44 ± 17 mL/m2
 |  | TAPSE |  |  | 
LV dysfunction RV normal 3.5 4% 3 2.5 LVEF 2 |  |  | LV normal RV normal 42% |  | 
20 30 | 40 | 1.5 50 | 60 |  | 70 80 LV normal RV dysfunction 45%
 |  | 1 |  |  | 
LV dysfunction |  | 0.5 |  |  | 
RV dysfunction |  |  |  |  | 
9% |  | 0 |  |  | 

## Slide 11: Invasive Hemodynamic Data at Baseline
86% of subjects had pulmonary artery systolic pressure <50 mmHg
PCWP: 14.9 ± 4.4 mmHg
Mean PAP: 25.5 ± 6.1 mmHg
PVR: 2.5 ±1.1 WU
Right atrial pressure:
11.0 ± 5.0 mmHg
RVEDP: 8.5 ± 6.2 mmHg
Right Atrial Pressure (n=192)
Number of Subjects
[1, 6]
[6, 11] [11, 16] [16, 21] [21, 26]
Right Atrial Pressure (mmHg)
[26, 31]
75
65
55
45
35
25
15
5
-5

## Slide 12: Baseline Organ Function
4%
56%
40%
< 400
400-2000
2000
CARDIAC (NT PRO-BNP)
40%
>2000
7%
17%
31%
45%
33%
67%
< 40 (normal)
40 (elevated)
KIDNEY (GFR)
LIVER (GGT)
55%
dysfunction
N = 133
67% > 40
< 30 (severe dysfunction)
30-45 (moderate dysfunction)
45-60 (mild dysfunction)
60 (normal)
N = 332
N = 232

## Slide 13: 1-Year Mortality Compared to Other Studies
1-Year Mortality
1-year Mortality Range
No concomitant valve disease: 7% to 14% Untreated concomitant valve disease: 22% to 50%
Note: Size of data point represents relative study sample size.

## Slide 14: Change in QOL Compared to Prior Studies
KCCQ Change
PARADIGM-HF DEFINE-HF
DAPA-HF
FAIR-HF
PCDM
TRILUMINATE
Pivotal
COAPT
PARTNER-2
PAL-HF
0
5
10
15
20
25
30
-5
6
6.1
12
13.5
17
15.2
22
26.3
56
53
68
Range: 3-12 months
67
-2.99
73
52 38 53
36
Baseline KCCQ score shown at bottom of bar

## Slide 15: Conclusions
TRILUMINATE Pivotal is the first RCT to examine the effects of TR reduction with TriClip therapy; the trial demonstrated safety of the TriClip system and significant reduction in TR, associated with QOL benefit.
The findings were observed in patients who predominantly had:
  Preserved LV size/function;
  Mild RV dysfunction and moderate RV enlargement;
  Severe symptoms and moderate impairment of QOL at baseline;
  Moderate right atrial pressure elevation, mild elevation in PCWP, and moderate pulmonary hypertension;
  No untreated left-sided VHD.
One-year mortality was 8%, comparable in device and medical arms, and in line with studies of TR patients without untreated VHD.
QOL improvement was comparable to or better than prior trials of established therapies.

## Slide 16: PCRonline.com