## Slide 1: Thirty-Day Outcomes of the Navitor Self-Expanding Transcatheter Aortic Valve: The International PORTICO NG Study
Michael J. Reardon, MD
On behalf of the PORTICO NG Study Investigators

## Slide 2
Michael J. Reardon, M.D.
Relevant financial relationships:
Consultant fees and/or institutional research grants for Abbott, Boston Scientific, Medtronic, and Gore Medical

## Slide 3: Background
Paravalvular leak (PVL) remains a common post-procedural complication that can have a negative impact on patient survival
The Navitor™ valve is a next-generation, self-expanding valve with intra-annular leaflet position that has an outer fabric cuff to actively minimize the risk of PVL
We report final 30-day outcomes from 260 patients enrolled in the PORTICO NG Study

## Slide 4: PORTICO NG (Navitor) Study
This study was funded by Abbott
Design | Prospective, global, multi-center, single-arm investigational study 260 patients enrolled at 26 sites in the US, Europe, and Australia
Population | Patients with severe, symptomatic aortic stenosis who are deemed high or extreme risk for surgical valve replacement
Primary Endpoints | All cause mortality at 30 days Moderate or greater PVL at 30 days
Follow-up | 30 days, 12 months, and annually through 5 years
Study PIs | Dr. Michael Reardon, USA Prof. Lars Sondergaard, Denmark
Independent Data Oversight | Clinical Events Committee Echocardiography Core Lab
Notes: PORTICO NG (Next-Generation) = Navitor

## Slide 5: The Navitor™ Valve
Curved Aortic Cells
Reduces risk of injury to native structures1
Inner NaviSeal™ Cuff
Fabric material maintains low profile
and improved durability
Outer NaviSeal™ Cuff
Actively synchronizes to the cardiac cycle to seal and mitigate PVL2
Optimized Radial Force
For improved opening, expansion, anchoring, stability and sealing
Increased Sealing Zone
Mitigates PVL
Large Cell Design
Minimizes coronary obstruction and improves coronary access and flow
1. Abbott data on file CL1007744.
2. Sondergaard, L. 30-day outcomes from a next generation TAVI device with an active sealing cuff. Presented at: EuroPCR conference; May 18-20, 2021.

## Slide 6: Study Investigators
Site | PI
Policlinico San Donato | Francesco Bedogni
Cardiovascular Research Institute of Kansas | Bassem Chehab
Sparrow Clinical Research Institute | Nam Cho
Los Robles Regional Medical Center | Gregory Fontana
Intermountain St. George | Blake Gardner
Baptist Memorial Hospital | Edward Garrett
Mission Health & Hospitals | Mark Groh
The Heart Hospital Baylor Plano | Katherine Harrington
St. Vincent Hospital | James Hermiller
The Methodist Hospital | Neal Kleiman
New York-Presbyterian / Columbia University Medical Center | Susheel Kodali
Montefiore Medical Center | Azeem Latib
Sentara Norfolk General Hospital | Paul Mahoney
Site | PI
Cedars-Sinai Medical Center | Raj Makkar
Royal Victoria Hospital | Ganesh Manoharan
University Hospitals Cleveland Medical Center | Marc Pelletier
Advocate Christ Medical Center | Ravi Ramana
Albany Medical Center | Chanderdeep Singh
Morriston Hospital | Dave Smith
Rigshospitalet | Lars Sondergaard
Minneapolis Heart Institute | Paul Sorajja
University of Pittsburgh Medical Center | Ibrahim Sultan
Washington Hospital Center | Ron Waksman
The Alfred Hospital | Tony Walton
St. Andrew's Hospital | Stephen Worthley
Fiona Stanley Hospital | Gerald Yong

## Slide 7: Baseline Characteristics
Characteristic | N=260
Age, years | 83.4 ± 5.4
Female | 57.3%
Risk and frailty assessments | 
STS-PROM Score, % | 3.9 ± 2.1
EuroSCORE II, % | 3.4 ± 2.3
NYHA Class III or IV | 55.0%
Extreme risk | 18.5%
Total frailty score, mean | 1.4 ± 0.8
Echocardiographic parameters | 
Effective orifice area, cm2 | 0.7 ± 0.2
Mean aortic valve gradient, mmHg | 46.2 ± 13.0
Ejection fraction, % | 59.3 ± 9.4
Mitral regurgitation ≥ moderate | 16.2%
Characteristic | N=260
Medical history | 
Cancer | 30.0%
Cardiac arrhythmia (any) | 58.5%
Atrial fibrillation | 24.6%
First degree AV block | 11.2%
RBBB | 11.9%
Chronic lung disease | 24.2%
CABG | 12.3%
Coronary artery disease | 59.6%
Diabetes | 28.8%
Hypertension | 86.2%
Kidney disease | 24.2%
Non-ambulatory | 4.3%
Pre-existing permanent pacemaker | 10.8%
Pulmonary hypertension | 13.5%

## Slide 8: Procedural Characteristics
Procedural Characteristics | N=260
Conscious sedation | 31.9%
Pre-balloon valvuloplasty | 95.4%
Post-balloon valvuloplasty | 28.1%
Transfemoral access | 99.6%
Resheathing | 46.9%
Implant depth from NCC, mm | 3.7 ± 2.2
Median procedure time, min (IQR) | 65 (50, 83)
Median fluoroscopy time, min (IQR) | 18 (14, 23)
Median length of stay, days (IQR) | 2 (1, 4)
Chart: 
| 23 mm | 25 mm | 27 mm | 29 mm
Valve Size Distribution | 0.054 | 0.254 | 0.396 | 0.296
Notes: Procedural success is defined as absence of procedural mortality and correct positioning of a single prosthetic heart valve into the proper anatomical location
Pre-BAV recommended per IFU
Resheathing was at the discretion of the implanter

## Slide 9: Procedural Outcomes
Procedural Outcomes | N=260
Procedural success1 | 97.3%
Procedural mortality | 0.0%
Conversion to SAVR | 0.0%
Additional TAVI device | 1.9%
No Navitor valve implanted | 0.0%
Other2 | 0.8%
1. Defined as absence of procedural mortality and correct positioning of a single Navitor valve into the proper anatomical location
2. Two subjects received a vascular plug to mitigate PVL during the procedure due to a deep implant (NCC depth 13mm and 19mm)
Notes: Other: Two subjects received a vascular plug to mitigate PVL during the procedure due to a deep implant

## Slide 10: Low Safety Event Rates Reported Through 30 Days
30-Day Outcomes per VARC-2 | N=260
All-cause mortality | 1.9%
Disabling stroke | 1.9%
Acute kidney injury (stage 3) | 0.8%
Life-threatening bleeding | 3.8%
Major vascular complication | 4.2%
Vascular access site | 3.1%
Non-access site | 1.2%
Overall pacemaker implantation | 16.9%
New pacemaker implantation1 | 19.0%
1. Excludes subjects with a pacemaker at baseline
Notes: The composite safety endpoint (7.7%) includes all-cause mortality, disabling stroke, life-threatening bleeding, stage 3 acute kidney injury, and major vascular complication.

## Slide 11: Favorable Hemodynamics and No Moderate or Greater PVL at 30 Days
Chart: Paravalvular Leak
| Discharge (N=251) | 30 Days (N=248)
None/Trace | 83.7 | 79.8
Mild | 16.3 | 20.2
Moderate | 0 | 0
Severe | 0 | 0
Chart: Hemodynamics
| Baseline | 30 Days
Mean Gradient | 41.41 | 7.38
EOA | 0.72 | 2

## Slide 12: New York Heart Association at 30 Days
Chart: Percentage of Subjects
| Baseline (N=260) | 30 Days (N=251)
NYHA I | 0 | 0.665
NYHA II | 0.45 | 0.299
NYHA III | 0.531 | 0.032
NYHA IV | 0.019 | 0.004
Most patients (96.4%) were NYHA class I or II
Symptom improvement of at least one class from Baseline in 86.5% of patients

## Slide 13: Summary and Conclusion
Low VARC-2 event rates support the safety of the Navitor™ valve in patients with symptomatic, severe aortic stenosis at high and extreme surgical risk
  All-cause mortality at 30 days: 1.9%
  Disabling stroke at 30 days: 1.9%
High rate of procedural success (97.3%)
Favorable hemodynamic performance confirmed by a single-digit mean gradient (7.4 mmHg) and large effective orifice area (2.00 cm2) at 30 days
Most patients (86.5%) had symptom improvement
No moderate or greater PVL at 30 days demonstrates the effectiveness of the NaviSeal™ active outer cuff

## Slide 14
Navitor™ valve is FDA approved
VANTAGE low and intermediate risk study is ongoing
Navitor 30-Day outcomes manuscript in press at JACC:CI “Thirty-day clinical outcomes of a self-expanding transcatheter aortic valve: the international PORTICO NG study”